## Slide 1
O
E
S
X and Gamma ray precision measurements for fundamental physics and radioprotection
Alessandro Scordo
Laboratori Nazionali di Frascati, INFN
“STRANEX: Recent progress and perspectives in STRANGe Exotic atoms studies and related topics”
ECT*, Trento, 24/10/2019
X
INFN-CSN5
Young Researcher Grant 2015, n. 17367/2015.
Progetto SICURA
Notes: 1
1

## Slide 2
Frascati: a good place for photon detection…

## Slide 3
Nested talk: outline
Frascati wine di sfondo
Possible K-atom measurements
Low energy range (1-50 keV)
Bragg spectrometer TES
(VOXES)
High energy range (> 50 keV)
CsI(Tl)
 SICURA project
CdZnTe
HPGe (SIDDHARTA-2)
STRONG 2020 - ASTRA
CdTe

## Slide 4
Nested talk: outline
Frascati wine di sfondo
Possible K-atom measurements

## Slide 5
K3,4He (2→1)
@ 30 keV
Kaonic atoms measurements: energy ranges
KO (4→3) @ 39.5 keV
KN (4→3) @ 30 keV
KC (4→3) @ 22 keV
KC (3→2) @ 63 keV
KBe (3→2) @ 27 keV
KLi (3→2) @ 15 keV
Bragg spectrometer & TES
CdTe
KPb (9→8) @ 290 keV
KPb (8→7) @ 420 keV
CdZnTe & HPGe

## Slide 6
New TES for ~ 100 keV
under production @ NIST
LNF is very active in high precision photon measurements!!!
CdZnTe  STRONG-2020
HPGe  SIDDHARTA-2
CdZnTe & CsI(Tl)  SICURA
Kaonic atoms measurements: energy ranges

## Slide 7
Nested talk: outline
Frascati wine di sfondo
Possible K-atom measurements
High energy range (> 50 keV)
CsI(Tl)
 SICURA project
CdZnTe

## Slide 8
CdZnTe + CsI(Tl) (+ 3He)
detectors: the SICURA project
Development of a portable and integrated low cost probe for applications in radioprotection and anti-terrorism
(italian achronym works better…)
2019-2021 project financed by Regione Lazio
LNF hosting institution
Radiation Dispersal Devices (RDD) or dirty bombs
IAEA Incident and trafficking database, ITDB:
from 1995 to 2016 almost 3000 cases of illegal traffic of radioactive sources.
Tens of these cases involve Plutonium or Enriched Uranium sources.

## Slide 9
Probes for monitoring already exist in:
Ports, customs, borders
Airports
Waste destructors
Garbage dumpsites
But are missing in:
Big events (sports, music, etc)
High population density sites
(schools, hospitals, etc.)
Need for widespread diffusion of easy-to-use probes
‘’Easy to get sources’’:
Am-241 (59.5 keV) Ir-192 (300-600 keV) Ra-226 (185 keV) Cs-137 (662 keV)
Co-60 (1173, 1332 keV)
+ n sources (< 15 MeV) (a,n)
U.S. Department of Health and Human Services
CdZnTe (High resolution)
+
CsI(Tl) (High efficiency)
+
3He (widespread n counter)
CdZnTe + CsI(Tl) (+ 3He)
detectors: the SICURA project

## Slide 10: Proposed probe characteristics: Cylindrical holder with ending spike for insertion High efficiency X+Gamma detector CsI(Tl) 2”x2” solid state readout sensing background level overcoming- Alert stage High resolution X+Gamma detector CdZnTe semi-spherical Precise element identification - Identification stage High efficiency thermal neutron counter 3He 4 cm x diam 1.27 cm with polyethilene moderator E <15 MeV neutron detection
The SICURA detector
On the ground demonstration at the end of 2020 !!!
(want to be part of it??? Unmissable…)

## Slide 11
CsI(Tl) alert stage: performances
Radionuclide | FWHM [%] | Energia [keV]
241Am | 53.25 % | 26.34
241Am | 23.51 % | 59.54
57Co | 20.53 % | 123,66*
152Eu | 18.42 % | 121.78
152Eu | 14.58 % | 244,70
152Eu | 13.06 % | 344,28
137Cs | 10.77 % | 661,66
152Eu | 12.30 % | 778,90
152Eu | 18.55 % | 964,08
152Eu | 8.45 % | 1085,87
152Eu | 9.65 % | 1408,01
Energy – Amplitude Calibration
Amplitude (mV)
Energy (keV)

## Slide 12: Bkg 0.2 mSv/h Bkg + 10 kBq Cs (10s 25 cm distance)
CsI(Tl) alert stage: expected results
Kaonic atoms:
Not good for precise masurements but could be used for yields

## Slide 13
CdZnTe identification stage: performances
Energia (keV) | Radionuclide | FWHM
13,90 | 241Am | 33%
59,54 |  | 11,25%
31,96 | 133Ba | 20,23%
80,90 |  | 7,03%
276,40 |  | 3,45%
302,80 |  | 3,34%
356,01 |  | 3,23%
383,80 |  | 2,80%
121,78 | 152Eu | 5,17%
244,69 |  | 3,94%
411,12 |  | 3,32%
443,96 |  | 2,52%
1408,01 |  | 2,72%
661,66 | 137Cs | 2,38%
122,06 | 57Co | 5,04%
136,47 |  | 3,64%

## Slide 14: Bkg 0.2 mSv/h Bkg + 100 kBq Cs (10 s at 25 cm distance)
CdZnTe identification stage: expected results
Kaonic atoms:
FWHM < 3% @ 600 keV
ASTRA
STRONG-2020
10-100 keV range
100 keV-1 MeV range

## Slide 15
Nested talk: outline
Frascati wine di sfondo
High energy range (> 50 keV)
CdZnTe
STRONG 2020 - ASTRA
CdTe

## Slide 16
Organization legal name | Short name | Activity leader
Austrian Academy of Sciences, Stefan Meyer Institute, Austria | OEAW | J. Zmeskal
Istituto Materiali per Elettronica e Magnetismo, CNR, Parma, Italy | CNR | A. Zappettini
Jagiellonian University, Krakow, Poland | UJ | P. Moskal
Laboratori Nazionali di Frascati (LNF) – INFN, Italy | INFN | A. Scordo
Politecnico Milano, Dipartimento di Elettronica, Italy | POLIMI | C. Fiorini
University of Zagreb, Croatia | UNIZG | D. Bosnar
Advanced ultra-fast solid STate detectors for high precision RAdiation spectroscopy
ASTRA
The main objective of the ASTRA project is to develop beyond state-of-art ultra-fast CdZnTe/CdTe radiation detector systems for high-precision measurements of gamma- and X-ray events in a broad energy range, few keV to MeV.

## Slide 17
Cadmium Telluride (CdTe) and Cadmium Zinc Telluride (CdZnTe) are very promising semiconductor materials for X-ray and gamma ray detection.
The high atomic numbers of the materials (ZCd/Te=48, 52) provide a high quantum efficiency in comparison with Si.
The larger band-gap energy (Eg∼1.5 eV, compared to Si Eg∼1.1 eV) allows the operation of the detector at room temperature.
  CdTe energy range up to 50 keV resolution 500 eV (FWHM) @ 20 keV
  CZT energy range 0.05 – 1 MeV resolution 1 keV (FWHM) @ 200 keV
energy resolution is slight worse than achieved with Si-detectors or HPGe, BUT better timing and high rate capability
R & D of CdZnTe and CdTe Detectors

## Slide 18
Nested talk: outline
Frascati wine di sfondo
Low energy range (1-50 keV)
Bragg spectrometer
(VOXES)

## Slide 19
Bragg spectrometers
High resolution can be achieved depending on the quality of the crystal and the dimensions of the detectors
Geometry of the detector determines also the energy range of the spectrometer
Limitation in efficiency
But….
In accelerator environments particles may hit the detector
Background reduction capability is mandatory
Typical d (Si) ≈ 5.5 Å
qB < 10° for E > 6 keV (forward & difficult)
Point-like source needed
…and most of all…
Notes: 19
19

## Slide 20
Mosaic crystal consist in a large number of nearly perfect small crystallites.
Mosaicity makes it possible that even for a fixed incidence angle on the crystal surface, an energetic distribution of photons can be reflected
Increase of efficiency
(focusing) ~ 50
Loss in resolution
Pyrolitic Graphite mosaic crystals (d = 3.354 Å):
Highly Oriented Pyroliltic Graphite (HOPG, Dq≈1°)
Highly Annealed Pyrolitic Graphite (HAPG, Dq≈0.07°)
flexible HAPG has twice higher spectral resolution, while flexible HOPG – approximately twice higher reflectivity
H. Legall, H. Stiel, I. Grigorieva, A. Antonov et al.,
FEL Proc. 2006
E/∆E=4100 (CuKα)‏
E/∆E=3500 (CuKα)‏
Mosaic crystals
nl=2dsinq
Notes: 20
20

## Slide 21
Bending does not influence resolution and intensity
Mosaic spread down to 0.05 degree
Integral reflectivity ~ 102 higher than for other crystals
Variable thickness (efficiency)
Excellent thermal and radiation stability
HAPG: Highly Annealed Pyrolitic Graphite
Notes: 21
21

## Slide 22
The source size problem
What has been done so far?
Bragg spectroscopy is usually exploited by XAS, XES, synchrotron light users, etc…
This means:
Point-like sources
High yields (no need to increase them)
1 eV (Si, Mica, etc) or 2-3 eV (HAPG) resolution is very easily achievable
But what if we really need wider sources for higher statistics?
Or what if our photons come from a diffused isotropic source?
Notes: 22
22

## Slide 23
Horizontal spread
For each ∆θ’ , S0’ pair, the
2 values of the slits can be
found; first, we
define the position of the intersection point zf :
Then, the 2 slits aperture are defined by:
and the vertical illuminated portion of the HAPG is
Notes: 23
23

## Slide 24
Designed at SMI
Dectris Ltd
MYTHEN2 detector:
32 x 8 mm surface
640 channels  50 mm resolution
4-40 keV range
Working @ room temperature
Step-0 (jul 16 – dec 16): Lab equipment and first spectrum
0-10 mm opening
26 mm circular frame
< 1 mm sensitivity
Slits
(STANDA 10MAOS10-1)
Experimental apparatus
Designed & realized @ SMI
Notes: 24

## Slide 25
Single element spectra
Given the energy and rc it is alwasy possible to find the optimal configuration to obtain the best peak position precision
Valid for all energies
(tested for 6-20 keV)
In the limit of a background free pure gaussian peak, the precision is related to the resolution via:

## Slide 26
Semi VH configuration: wider dynamic range
Position detector rotation allows a wider dynamic range and a higher efficiency without worsening peak resolution
Notes: 26
26

## Slide 27
Multi element spectra
700 eV dynamic range (one shot)
Resolution still at 6 eV level (s)
>1 keV dynamic range
Resolution still at 1,2 ‰
Almost 2 mm source size

## Slide 28
Results summary
Publications:
VOXES, a new high resolution X-ray spectrometer for low yield measurements with diffused sources Acta Phys.Polon. B48 (2017) 1715
VOXES: a high precision X-ray spectrometer for diffused sources with HAPG crystals in the 2–20 keV range
JINST 13 (2018) no.04, C04002
Pyrolitic Graphite Mosaic Crystal Thickness and Mosaicity Optimization for an Extended Source Von Hamos X-ray Spectrometer.
Condens. Matter 2019, 4(2), 38
High resolution multielement XRF spectroscopy of extended and diffused sources with a graphite mosaic crystal based Von Hamos spectrometer
Accepted for publicatio in to Journal of Atomic
Analytical Spectroscopy

## Slide 29
O
X
E
S
HAPG technology development
Medical Applications
(Mammography)
Foundations:Quantum Mechanics
Industry, art and Safety: Elemental Mapping
Particle and Nuclear Physics
X-ray spectroscopy (DANE-Luce)
JPARC
(K-atoms)
PSI
(-atoms)
DANE
(K-atoms)
LNGS
(PEP)
FAIR
(exotic atoms)
Impact
Notes: 29
29

## Slide 30
VOXES on DAFNE
To be realized:
Shielding around Detector
Solid support structure (alignement)
Available:
Multi - Crystal support structure
Target (Solid or Liquid/Gas)
Optics
Alignement support
Target box
Detector
DAQ (integ. KM)
Notes: 30
30

## Slide 31
e+
e-
K-
Possibility to use a gaseous target to increase efficiency
Possibility to measure different lines in parallel (cascade process)
KC (4→3) @ 22 keV (n=2)
KC (7→4) @ 19.1 keV
KC (5→4) @ 10.2 keV
KC (6→5) @ 5.5 keV
KC (6→4) @ 15.7 keV
KC (5→4) @ 10.2 keV
(Future) VOXES on DAFNE (?)
Notes: 31
31

## Slide 32
The main disagreement is between the two most recent and precise measurements (x-ray energies from kaonic atoms):
mK=493.636±0.011 MeV
K.P. Gall et al.
Phys. Rev. Lett. 60 (1988)186
K- Pb, K- W; HPGe detector (1 keV), K-Pb (9 -> 8),
K-Pb (11 -> 10), K-W (9 -> 8), K-W (11 -> 10),
K- mass precision measurement
mK=493.696±0.007 MeV
A.S. Denisov et al.
JEPT Lett. 54 (1991)558
K- 12C, crystal diffraction spectrometer
(6.3 eV at 22.1 keV), 4f-3d
M. Tanabashi et al.(Particle Data Group), Phys. Rev. D 98, 030001 (2018).

## Slide 33
K- mass error (rough) estimation
K- mass error:
KC(5→4) : 10,2 keV
KC(6→5) : 5,5 keV
KPb(9→8) : 290 keV
VOXES spectrometer
& TES
Higher energy
detectors
dm = 10 keV enough to reduce total error at 5-7 keV
dm <= 5 keV is the real goal for a new measurement

## Slide 34
Frascati: a good place for photon detection…

## Slide 35
Transportable and Agile Spectrometer for metal Trace in Edible liquids : TASTE
INFN-CNTT commision
“Research 4 Innovation 2020” awarded
…and more wine is coming…
Thanks for your attention
Notes: 35
35