## Slide 1
STRANEX
Recent progress and perspectives in STRANge EXotic atoms studies and related topics
Trento, 21-25 / 10/ 2019
Istituto Nazionale Fisica Nucleare - Laboratori Nazionali di Frascati

## Slide 2
Silicon Drift Detectors for
Kaonic atoms spectroscopy at DAΦNE,
SIDDHARTA-2 experiment
M. Miliucci
On behalf of SIDDHARTA-2 collaboration
Marco.Miliucci@lnf.infn.it

## Slide 3
Silicon Drift Detectors for Hadronic Atom Research by Timing Application
SIDDHARTA – 2 Collaboration
LNF-INFN, Frascati, Italy
SMI-ÖAW, Vienna, Austria
Politecnico di Milano, Italy
IFIN –HH, Bucharest, Romania
TUM, Munich, Germany
RIKEN, Japan
Univ. Tokyo, Japan
Victoria Univ., Canada
Univ. Zagreb, Croatia
Helmholtz Inst. Mainz, Germany
Univ. Jagiellonian Krakow, Poland
ELPH, Tohoku University
Trento, 24/10/2019

## Slide 4
Outline
Kaonic atoms physics at DAΦNE
New Silicon Drift Detectors (SDDs) technology for precision KD measurements
SDDs in DAΦNE
Conclusions

## Slide 5
Outline
Kaonic atoms physics at DAΦNE
New Silicon Drift Detectors (SDDs) technology for precision KD measurements
SDDs in DAΦNE
Conclusions and outlooks

## Slide 6
Cascade process  strong interaction
ε1s , Γ1s
KN interaction at threshold
Trento, 24/10/2019

## Slide 7
NAUTILUS
ATLAS
Auditorium
ADA e ADONE
DAΦNE
Centro di
Calcolo
FISA
BTF
DAFNE-L
FINUDA
DEAR
SIDDHARTA
DAΦNE
I.N.F.N.– Laboratori Nazionali di Frascati
e-
e+
Φ → K- K+ (49.1%)
Monochromatic low-energy K- (~127 MeV/c ; Δp/p = 0.1%)
Electromagnetic (asynchronous) bkg
Hadronic (syncronous) bkg

## Slide 8
SIDDHARTA 2
MC Kaonic deuterium
KD yield < 0.1 %
(10 times lower than KH)
Bazzi et al., Nuclear Physics A 907, 69-77 (2013)
Bazzi et al., Nuclear Physics A 954, 7–16 (2016)

## Slide 9
MC Kaonic deuterium
ε = -800 ± 30 eV
Γ = 750 ± 75 eV
density: 3% (LHD)
detector area: 246 cm2
Same precision as SIDDHARTA, which gave the most precise measurement of KH so far
KD yield < 0.1 %
Trento, 24/10/2019

## Slide 10
Outline
Kaonic atoms physics at DAΦNE
New Silicon Drift Detectors (SDDs) technology for precision KD measurements
SDDs in DAΦNE
Conclusions

## Slide 11
[1] P. Rehak at al, Nucl. Instr. Meth. Phys. Res. A235, (1985)
Silicon Drift Chamber (SDC)
[2] C. Fiorini et al., IEEE transactions on nuclear science, 47(4) (2000)
Silicon Drift Detector (SDD)
RN
Back
Anode
[1]
[2]
Trento, 24/10/2019

## Slide 12
3x1 array (SDD:1x1x0.045 cm3)
New technology SDD (FBK + PoliMi + LNF)
4x2 array (SDD:0.8x0.8x0.045 cm3)
SDD ramp & CUBE RESET
640μs/div
X-Ray edge
100ns/div
Trento, 24/10/2019

## Slide 13
Linearity
Miliucci et al., Condens. Matter, 4(2) (2019)
Trento, 24/10/2019
TiKα
FeKα
CuKα
BrKα

## Slide 14
Long time run
Ti-Br calibration
Fe Kα : 6399.8 ± 0.4 eV
ΔEmean = 0.2 ± 0.4 eV
Miliucci et al., Condens. Matter, 4(2) (2019)
Trento, 24/10/2019

## Slide 15
Energy resolution
Voltage scan Temperature scan
FF = 0.118 ± 0.009
FF = 0.116 ± 0.009
Miliucci et al., Condens. Matter, 4(2) (2019)
Trento, 24/10/2019

## Slide 16
Drift time (temperature scan)
µ: mobility ~ T-n
Trento, 24/10/2019

## Slide 17
Outline
Kaonic atoms physics at DAΦNE
New Silicon Drift Detectors (SDDs) technology for precision KD measurements
SDDs in DAΦNE
Conclusions

## Slide 18
Sharp & Succesfull SIDDHARTINO installation
(April 2019)
Trento, 24/10/2019

## Slide 19
SIDDHARTINO top view
He cooling
Beam direction
SDDs+Veto 2
Trento, 24/10/2019

## Slide 20
Trento, 24/10/2019

## Slide 21
Trento, 24/10/2019
SIDDHARTINO HV Map

## Slide 22
Trento, 24/10/2019
Calibration optimization

## Slide 23
Ti
Cu
Bi
Zr
Pd
Ag
Ti
Cu
Zr
Bi
Pd
Ag
Target
Ceramic
Trento, 24/10/2019

## Slide 24
X-ray tube (35kV,40uA)_SDD 107
Trento, 24/10/2019

## Slide 25
X-ray tube (35kV,40uA)_SDD 53
Trento, 24/10/2019

## Slide 26
SDDs response during “DAΦNE Commissioning’’
e+ / e- beams
Preliminary quantitative considerations
Background from the beam
Normal vs Parallel comparison
Trento, 24/10/2019

## Slide 27
X-ray tube (35kV,40uA)_SDD 107
Trento, 24/10/2019

## Slide 28
X-ray tube (35kV,40uA)_SDD 53
Trento, 24/10/2019

## Slide 29
‘‘DAΦNE commissioning’’ bakground
Energy (KeV)
SDD 107
SDD 53
SDD 107 (parallel w.r.t. beam)
SDD 53 (normal w.r.t beam)
Trento, 24/10/2019

## Slide 30
Outline
Kaonic atoms physics at DAΦNE
New Silicon Drift Detectors (SDDs) technology for precision KD measurements
SDDs in DAΦNE
Conclusions

## Slide 31
Lab tests for optimization of new technology Silicon Drift Detectors for the SIDDHARTA-2 experiment:
Linearity & Stabilty (≈eV);
Energy resolution (140 ~ 160 eV @ Mn Kα)
Time resolution (< 400 ns @ Cu Kα)
Preliminary e+/e- beam characterization of Silicon Drift Detectors during the DAΦNE commissioning:
Homogeneus background spread over the entire spectra
X-Rays emission of SDDs structural elements activated by the beam, almost outside the ROI
No significative correlation between the beam direction and the SDDs positioning
Trento, 24/10/2019

## Slide 32
THANK YOU
Trento, 24/10/2019
Marco.Miliucci@lnf.infn.it