## Slide 1: Status and progress of the PANDORA plasma trap: a facility to investigate on atomic and nuclear inputs for key nucleosynthesis branchings
Angelo Pidatella on behalf of the PANDORA collaboration
INFN, Laboratori Nazionali del Sud
Key Reactions in Nuclear Astrophysics, 12 -16 December 2022 – ECT*

## Slide 2
Highlights of physics perspectives for s- and r-process nucleosynthesis
Slow Neutron Capture Process (s-process)
Low neutron density (~105 – 106 cm-3) and capture lifetime ~ 104 years
Absorption process competes with β and α-decay reactions – populates the valley of stability
UNIVERSE FACTORY: AGB STARS
OPEN ISSUES: DEMANDING FOR WEAK-INT. INPUT FOR ASTROPHYSICAL MODELS
Rapid Neutron Capture Process (r-process)
High neutron density (~1023 – 1024 cm-3) and capture lifetime ~ 10-6 s
Absorption process competes with inverse (γ,n) reaction – populates the neutron drip line
UNIVERSE FACTORY: SN, NS MERGERS
OPEN ISSUES: WEAK R-PROCESS YIELDS CONSTRAIN, OPACITY INFO MISSING IN THE KILONOVA PREDICTION
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Busso, M. et al., Ann Rev Astron. Astrophys. 37 (1999) 239
Cristallo, S. et al., APJ Suppl. 197, 17 (2011)
Metzger B.D., Kilonovae. Living Rev Relativ 23, 1 (2020)

## Slide 3
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Study of bound-β decay in a high-energy content plasma
The large effects of stellar conditions in β-decays have been measured in a few cases at storage rings
Theory of perturbed decay rates in stellar environments (Takahashi, Yokoi ‘80s – TY)
The β-decay model: detailed inputs on the level population and charge state distribution of the plasma ions, as well as on the electron energy distribution function (EEDF).
  Bare 187Re75+ ions decay, due to the bound-state beta decay, becomes 9 orders
  of magnitude faster than neutral 187Re atoms with a half-life of 42 Gyr
F Bosch, et al., PRL 77 (1996) 5190
 can differ by orders of magnitude
Beta-decay rates of highly ionized heavy atoms in stellar interiors, K Takahashi and K Yokoi, Atomic Data and Nuclear Data Tables 36, 375 (1987)
c. d.
c. c.
CSD and level population of ions
EEDF of electrons
TERRESTRIAL
VS.
STELLAR
 additional transitions (different forbiddeness) can appear in
c. d.
c. c.
b. c. / b. d.
Highlights of physics perspectives for s- and r-process nucleosynthesis

## Slide 4
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Magneto-plasma opacity relevant for kilonova light-curve
Ejecta from BNS systems: first evidence of r-process nucleosynthesis in kilonova (KN) AT2017gfo, from Gravitational-Wave event GW170817
KN light-curve, 2 fundamental inputs: (1) r-process nucleosynthesis yields (fixing the heating rate) (2) opacity (fixing the exchange of energy between plasma and radiation)
Opacity impacts on KN emission, influencing post-merging plasma ejecta composition (r-process multi-components)
Opacity from theoretical models: large uncertainty factor, blending of many millions atomic transition lines, experimental data are largely desired!
c. d.
c. c.
Watson, D., et al. Nature 574497-500, (2019)
ABSORPTION SPECTRAL FEATURES – OPACITY DEPENDENT
BLACKBODY SPECTRUM VS. OBSERVED KN SPECTRUM
(1)
(2)
Highlights of physics perspectives for s- and r-process nucleosynthesis

## Slide 5
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
The PANDORA project: a new multidisciplinary project and facility
Typical Electron Cyclotron Resonance (ECR) Ion Source for accelerators
14 HpGe γ-ray detector array
Radial X-ray pinhole camera
SDD detector
Fiber for optical spectrometry
ECR plasma
Superconductive magnetic system
Microwaves igniting and sustaining plasma, 5 kW and 18-21 GHz
Gas injection
Extraction line - diagnostic
Min-B field providing MHD-stability and plasma confinment
ECR heating surface
Mascali D. et al, Universe 8 (2), 80 (2022)
Mascali,D. et al, Eur. Phys. J. A (2017) 53: 145
Electron dens:
Electron Energy: eV – 100 keV
Ion dens:

## Slide 6
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
PANDORA
70 cm
28 cm
The PANDORA project: a new multidisciplinary project and facility
14 HpGe γ-ray detector array
Radial X-ray pinhole camera
SDD detector
Fiber for optical spectrometry
ECR plasma
Microwaves igniting and sustaining plasma, 5 kW and 18-21 GHz
Gas injection
Extraction line - diagnostic
Min-B field providing MHD-stability and plasma confinment
ECR heating surface
Mascali D. et al, Universe 8 (2), 80 (2022)
Mascali,D. et al, Eur. Phys. J. A (2017) 53: 145
Electron dens:
Electron Energy: eV – 100 keV
Ion dens:
Superconductive magnetic system

## Slide 7
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
The PANDORA project: a new multidisciplinary project and facility
14 HpGe γ-ray detector array
Radial X-ray pinhole camera
SDD detector
Fiber for optical spectrometry
ECR plasma
Mascali D. et al, Universe 8 (2), 80 (2022)
Mascali,D. et al, Eur. Phys. J. A (2017) 53: 145
Electron dens:
Electron Energy: eV – 100 keV
Ion dens:
PANDORA concept: compact plasma trap to magnetically confine ions of radioisotopes in a microwave-sustained ECR plasma
Goal: nuclear β-decay and spectroscopic measurements in a plasma resembling astrophysical conditions (temperature, ion charge state distribution)
Plasma diagnostics system: RF probes, optical and X-ray spectrometers  correlation of experimental measurements to plasma parameters
Assembling multi-diagnostic setup: simultaneously monitor plasma parameters and carry measurements under stable conditions
PHYSICS OF INTEREST FOR MMA AND NUCLEAR ASTROPHYSICS
s-process nucleosynthesis + β-decay branching
r-process cosmic sites
Nuclear reaction rates in stars
Compact binary object spectroscopy (kilonova transient): to characterize composition and to identify GW events
Superconductive magnetic system

## Slide 8
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
The PANDORA project – physics cases Day 1
Study of bound-β decay in a high-energy content plasma
Three suitable first candidates for experiments (among more than 100 initial cases!), based on scientific impact, trap size, magnitude of stellar-enhanced effects, type of element
Cosmo-chronometer/thermometer – Expected theor. reduced lifetime orders of magnitude
s-process branching in AGB stars – Expected theor. reduced lifetime orders of magnitude
s-process branching in AGB stars – Expected theor. reduced lifetime orders of magnitude
OF INTEREST FOR AGB MODELS
More than 120 isotopes of astrophysical and nuclear physics interest!!
PANDORA can become, in perspective, a big facility!
D. Mascali et al., EPJ web of conference 227, 2020, 01013

## Slide 9
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
The PANDORA project – concept of nuclear decay detection
Plasma buffer (H, He, Ar) host radioisotopes : dynamical equilibrium for days/weeks
Gamma detected through -detector HpGe array surrounding the trap
CORRELATION BETWEEN PLASMA PARAMETERS AND NUCLEAR LIFETIME IS THE CRUCIAL POINT OF THE MEASUREMENTS
Isotope | t1/2 [ yr ] | Eγ [ keV ]
176Lu | 3.78 · 1010 | 202.88 & 306.78
134Cs | 2.06 | 795.86
94Nb | 2.03 · 104 | 871.09
The decay-products can be tagged by γ -rays coming out from the ‘‘radio-product’’ with typical energies between 200 keV and 1800 keV
E. Naselli et al., EPJ web of conferences 227, 2020, 02006
σRes = 7.57 keV
σRes = 0.24 keV
HPGe vs LaBr3
Isotope activity
Density of the isotope in the plasma (const.)
Plasma volume (const.)

## Slide 10
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
The PANDORA project – physics cases Day 1
Magneto-plasma opacity relevant for kilonova light-curve
MODEL: time-evolving ejecta through homologous expansion of a fluid element under adiabatic conditions (vs. mass M, temperature T, velocity v, and electron fraction )
Plasma density in PANDORA: 1010-13 cm-3
Plasma temperature in PANDORA: few eV
Time after merger: from 10-2 up to 1 days blue-KN stage
Opacity weighted on abundances from SKYNET
IDENTIFICATION OF PHYSICS CASES
Time-dependent r-process elements abundances from SKYNET, with distribution of ejecta properties from astrophysical simulations  LIGHT R-PROCESS ELEMENTS, LOW NEUTRON RICHNESS
MEAN OPACITY vs. T, weighted with abundances from SKYNET: synthetic spectra of opacity from FLYCHK
Recent supporting work on Se relevance : K., Hotokezaka, M. Tanaka, et al., MNRAS 515, L89–L93 (2022)
Pidatella, A., et al. Nuovo Cimento 44 C (2021) 65

## Slide 11
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
The PANDORA project – concept of spectroscopic plasma analysis
Opacity direct measurement: TRANSMITTANCE
OES diagnostics
Profilometry/Secondary diagnostics
To be measured: independent measurements
Opacity of metal/buffer mixture: strongly dependent on density and temperature profile
Pidatella, A.,et al. Frontiers in Astronomy and Space Sciences, 10.3389/fspas.2022.931744 (2022)
Hydrogen spectrum
RF power: from 40 W to 450 W
RF frequency: 3.76, 6.78 GHz
Gas pressure: 1 · 10-3 and 1 · 10-2 mbar

## Slide 12
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
The PANDORA project: timeline
2020
2021
2022
2023
2024
2025
Trap’s design, procurement, installation and commissioning
GS Mauro et al, Frontiers in Physics, 621(2022)
X-ray and interferopolarimetry upgrades
OES  plasma opacity preliminary studies
Pidatella, A.,et al. Frontiers in Astronomy and Space Sciences
10.3389/fspas.2022.931744 (2022)
D Mascali et al., Plasma Physics and Controlled Fusion 64(3):035020
Jan. 2022
GAMMA-PANDORA agreement:
HpGe det. @ LNS
PANDORA plasma characterization
PANDORA Phase-1 experimental run
E Naselli et al, Frontiers in Physics, 692 (2022)
May 2022  selection of the best technical solution

## Slide 13
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Magnetic trap: 3 SC coils (axial confinement) + 1 SC HEX (radial confinement)
High charge state ions: ions must remain in the plasma long enough (tens of ms), high-frequency needed!
Designed to operate at 18-21 GHz in MHD-stable configuration
c. d.
c. c.
PANDORA : status trap and diagnostic array
GS Mauro et al, Frontiers in Physics, 621(2022)
Array of 14 HPGe detectors placed around the trap for γ-tagging of β-decaying nuclei
Photopeak detection efficiency (interplay between detector number and mechanical constraint)
Signal to noise ratio (high background self-generated inside the trap)
Magnetic field effects on HPGe charge collection
E Naselli et al, Frontiers in Physics, 692 (2022)
Formalized a Collaboration Agreement with GAMMA to use 16 HPGe detectors of GALILEO

## Slide 14
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
PANDORA : status trap and diagnostic array
Average density and temperature, line ratios
Tomographic info on density and temperature
Line-integrated density
Volumetric soft and hard X-ray temperature and density
On-line monitoring of all plasma parameters (density, T, CSD)
Investigation of the plasma properties in all energetic domains
Performing high-resolution spatial and time resolved analysis

## Slide 15
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
PANDORA
Theory
Experiments
Models & Simulations
Observations
Plasma models: self-consistent approach coupling Maxwell eqs. to particle dynamics  detailed plasma and atomic physics
Virtual experiments: detection efficiency, particle transport, diagnostic lines design
Multi-messenger events: GW + EM signals
Spectroscopic observations
Astrophysical models studying s- and r-process branchings
Nuclear Theory: weak-interaction rate change in stellar-enhanced environments
Weak interactions models: coupling nuclear and electronic degrees of freedom  single-particle mean-field scheme, predictions of β-decay rates
Radiative transfer in non-LTE plasmas
Multi-diagnostics training on testbench
Direct measurements in plasma environments suiting several astrophysical scenarios
Nuclear and atomic inputs: weak-interaction rates + plasma opacity

## Slide 16
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Theory: status and progress
Example: AGB model (Palmerini et al. 2021), 134Cs decay, affecting the isotopic admixture of Ba and the effectiveness of the branching point at 135Cs  134Ba and 136Ba, status as purely s-process nuclei is not reproduced very well by galactic neutron capture nucleosynthesis, when the decay rate is taken from TY
Improvements of the model when different decay rates enters in the model: input from full QM model – relativistic Dirac-Hartree-Fock solution including both internuclear and interelectronic interactions
Decay rate of Cs is affected concurrently by two major factors: the presence of 3 nuclear excited states of Cs, and the electronic excitation, also up to a complete ionization
TY
THIS WORK
PANDORA domain
S. Taioli et al. ApJ 933(2):158, July 2022
Palmerini, S. et al (2021) ApJ 921 7

## Slide 17
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Theory: status and progress
LTE vs NLTE plasma: relevant discrepancies for low-density plasma in the CSD
LTE (Statistical) vs. NLTE (balance equation): detailed atomic physics in plasma
NLTE might impact also nuclear reaction Q-value
94Nb (b-) case
Courtesy of A. Mengoni
Nuclear level energy
Ion level energy
IPD contribution
Low density
High density

## Slide 18
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Simulations: status and progress
Some recent investigations
Plasma modelling: ion dynamics transport  studying CSD in plasma for space-resolved β-decay + detailed atomic physics
  B Mishra, et al., Frontiers in Physics 10, 17, (2022)
  A Galatà, et al., Frontiers in Physics 777, (2022)
Virtual experiments:
  Measurability of decay rate E Naselli, et al., Frontiers in Physics, 692 (2022)
  Optical properties of layered plasma emission A Pidatella, et al., Frontiers in Astronomy and Space Sciences 9, 225, (2022)
Detection efficiency: impact of short-lived radioisotopes’ neutral depositions on the plasma chamber walls, being an additional source of background for the HPGe detectors array
More details in M. Bezmalinovich talk!

## Slide 19
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Simulations: status and progress
Plasma modelling: ion dynamics transport  studying CSD in plasma for space-resolved β-decay + detailed atomic physics
  B Mishra, et al., Frontiers in Physics 10, 17, (2022)
  A Galatà, et al., Frontiers in Physics 777, (2022)
Space-resolved Charge State Distribution – expected impact on space-dependent gamma-decay from beta decaying nuclei
IN PROGRESS: flux of radioisotope in plasma buffer to study CSD and beta-decay rate
Argon buffer gas Charge State Distribution in plasma

## Slide 20
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Simulations: status and progress
Virtual experiments:
  Measurability of decay rate E Naselli, et al., Frontiers in Physics, 692 (2022)
1% Lu of 1013 cm-3 (Vp=1500 cm3)
Isotope | t1/2 [ yr ] | Eγ [ keV ]
176Lu | 3.78 · 1010 | 202.88 & 306.78
134Cs | 2.06 | 795.86
94Nb | 2.03 · 104 | 871.09
Neutral 176Lu
Expected 176Lu lifetime in the PANDORA plasma
“Measurability” of 176Lu (and other nuclei) lifetime computed using GEANT4 simulations assuming an array of 14 HPGe-detectors
Expected experimental measurement time considering cps, det. Efficiency
134Cs ~ 6 h
176Lu > 30 days

## Slide 21
Simulations: status and progress
Detection efficiency: impact of short-lived radioisotopes’ neutral depositions on the plasma chamber walls, being an additional source of background for the HPGe detectors array
Let’s focus on the 134Cs decay process, relevant for s-process nucleosynthesis branching points in AGB stars modelling
v [m/s]
log10(deposited)
Inlet spot
Magnetic field lines
Max. deposition ~ oven location
Deposition tracking
Deposition map
NO PLASMA
WITH PLASMA
log10(γ)
log10(γ)
γ-events in 12 h
Modelling the Cs neutral dynamics in chamber and gamma rate

## Slide 22
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Experiments: status and progress
Some recent investigations
Experimental plasma characterization for opacity studies  Flexible Plasma Trap (FPT) @ LNS
  A Pidatella, et al., Frontiers in Astronomy and Space Sciences 9, 225, (2022)
X-Ray imaging with shuttered CCD – space-resolved and spectral-resolved imaging of plasma  FPT @ LNS
Interfero-Polarimetric plasma density measurements from Lissajous figures and inverse profilometry G Torrisi, et al., Frontiers in Astronomy and Space Sciences 9, (2022)

## Slide 23
Experiments: status and progress
Flexible Plasma Trap @ LNS (setup Feb 2022)
First data: using line-ratio method, H-plasma + Ar-H mixtures, estimate plasma parameters
First campaign of OES measurements, closely reproducing KN conditions – few eV, and 1011 cm-3
Monitoring plasma stability from emission line ratios
Characterizing plasma density and temperature from line ratios
7 exp. configurations, different pressures: many spectra per cfg.
Hydrogen spectrum
RF power: from 40 W to 450 W
RF frequency: 3.76, 6.78 GHz
Gas pressure: 1 · 10-3 and 1 · 10-2 mbar
Average density and temperature proportional to the effective emission coefficients .
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Experimental plasma characterization for opacity studies
  A Pidatella, et al., Frontiers in Astronomy and Space Sciences 9, 225, (2022)

## Slide 24
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Summary and conclusions
Many open questions and issues in nuclear physics and nuclear astrophysics on both nuclear and extranuclear aspects of key reactions for s- and r-process nucleosynthesis
Can we provide experimental nuclear and atomic inputs to advance knowledge of stellar process?
PANDORA: a new multi-disciplinary project and research facility
  First-of-its-kind β-decay measurements in plasmas
  Magneto-plasma opacity measurements in conditions similar to kilonovae ejecta in BNS
  Timeline: trap and chamber on-construction – Expected starting run in 2024-25
  Several progress: crossing theory, numerical simulations, and experiments on scalable plasma trap @ LNS
    Testing diagnostics
    Designing experimental setup, numerical predictions of physics in plasma
Huge impact on nuclear physics and stellar nucleosynthesis
Heavy r-process elements production in n-star merging + multi-messenger astronomy, GW events

## Slide 25
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
TDR available at the following link: https://pandora.infn.it/public/pandora-tdr and also from INFN-LNS website:
https://www.lns.infn.it/it/apparati/pandora.html
2022 - A special topic on Frontiers dedicated to PANDORA physics and technology (11 papers)
Also collaborating in the nuclear fusion research programme for the Divertor Tokamak Test (DTT) project

## Slide 26
A. Pidatella - KRINA, 12 -16 Dec 2022 – ECT*
Also collaborating in the nuclear fusion research programme for the Divertor Tokamak Test (DTT) project
Thank you very much for your attention!!

## Slide 28
Method: single-particle mean-field (MF) approximation to the internuclear and interelectronic interactions.
Improvements allowed via higher accuracy many-body methods for including dynamical correlation (Hjorth-Jensen et al. 2017).
Ab-initio calculation of the transition operator written in terms of the total QED Hamiltonian, proved accurate in reproducing a few terrestrial observables (Morresi et al. 2018). We generalized to include the temperature and density dependency for dealing with astrophysical conditions.
Weak Hamiltonian is factorized into the product of leptonic and hadronic currents (Morresi et al. 2018).
We also require that the hadronic current is separable into neutron and proton field operators, which means essentially that the decaying neutron acts as a single-particle correlated to the core of the remaining nucleons only geometrically, so as to recover the experimental total angular momentum of the parent reactant.
Furthermore, one can safely assume that the leptonic current can be written as a product of the neutrino and electron quantum field operators. The hadronic and leptonic currents are both reckoned by the self-consistent numerical solution of the Dirac-Hartree-Fock equation (DHF).
Protons and neutrons are interacting via a semiempirical relativistic Wood-Saxon potential, while the electron-electron Coulomb repulsion is modelled via a LDA to the electron gas (Slater 1951; Salvat et al. 1987). Electrons populate the energy levels according to a Fermi-Dirac distribution, and the chemical potential is assessed by assuming that they behave as an ideal Fermi gas in a box with a relativistic energy-momentum dispersion. The non-orthogonality between the bound initial and final orbitals, the possible presence of shake-up (excitation) and shake-off (ejection) are also taken into account in the calculation of the continuum electron wavefunction.
At high temperature, we considered positron formation, enforcing the overall neutrality of the plasma.
Atomic theory supporting weak interaction rates

## Slide 29
About Microwave Interferometry
Mach-Zender-type interferometer based on 2 horn-antennas and operating at 18-26 GHz
Interferometry: density determination is based on the phase‐shift induced by the plasma refractive index
Multipath suppression
INTERFEROMETER: “Frequency swept” method with post-filtering procedure of the beating signal S(ω)
The presence of plasma (accounted by the plasma) only shifts the beating frequency, while multipath introduce spurious components in the spectrum

## Slide 30
About Microwave Imaging Profilometry
(by solving EM inverse scattering problem)
Dispersive model for cold isotropic plasma with collisions
Einc
Escatt
Courtesy of G. Torrisi, E. Naselli
Measured data:
,
Unknowns:
Reconstructing 1D plasma density profile solving inverse EM problem in linear approx.
G. Torrisi et al. 2019 JINST 14 C09031

## Slide 31
Typical plasma characterization: X-ray diagnostic
2
1
3
Ar
Ta
Ti
D Mascali et al., Plasma Physics and Controlled Fusion 64(3):035020
Jan. 2022, DOI: 10.1088/1361-6587/ac4349
E. Naselli et al 2022 JINST 17 C01009
Integrated X-ray imaging: volumetric detail, plasma volume
Single-Photon Counting X-ray imaging: space- and spectral-resolved detail
Spatially-Resolved Spectroscopy and Spectrally-Resolved Imaging

## Slide 32
About the relevance of structured plasma density and temperature on opacity
Pidatella, A.,et al. Frontiers in Astronomy and Space Sciences
10.3389/fspas.2022.931744 (2022)

## Slide 33
Something on continuous self-consistent feedback among experiments and plasma modelling
Plasma Modelling: confinement and heating
2012-2013
2014-2016
2017-2020
2020 - …
2006-2009
2011
ELECTROMAGNETIC SIMULATIONS
ELECTRON DYNAMICS
SELF-CONSISTENT APPROACH
IONS DYNAMICS INCLUDING CSD BUILD-UP AND CONFINING ELECTROSTATIC FIELD
MICROWAVE ABSORPTION IN AN ANISTOTROPIC AND DISPERSIVE MEDIUM
ENERGY GAIN DUE TO ECR
ENERGY REDISTRIBUTION DUE TO COLLISIONS
COLLISIONAL DIFFUSION
IONIZATION
CHARGE EXCHANGE
COLLISIONAL DIFFUSION
BUILD UP OF CSD
OVERALL CHARGE NEUTRALITY
BUILD UP OF AN ELECTROSTATIC POTENTIAL RESPONSIBLE FOR CONFINEMENT

## Slide 34
Something on continuous self-consistent feedback among experiments and plasma modelling
Plasma Modelling: confinement and heating
2012-2013
2014-2016
2017-2020
2020 - …
2006-2009
2011
ELECTROMAGNETIC SIMULATIONS
MICROWAVE ABSORPTION IN AN ANISTOTROPIC AND DISPERSIVE MEDIUM
ELECTRON DYNAMICS
SELF-CONSISTENT APPROACH
ENERGY GAIN DUE TO ECR
ENERGY REDISTRIBUTION DUE TO COLLISIONS
COLLISIONAL DIFFUSION
FORWARD DIFFERENCE METHOD
v(t+1)=v(t) + a*Tstep  x(t+1)=x(t)+ v(t+1)*Tstep
RELATIVISTIC BORIS METHOD (LEAPFROG)
EVENTUAL EXTERNAL EM FIELD
e-e COLLISIONS: LANGEVIN EQUATION
ΔvLang= v(t+1)-v(t)= - νsv(t)*Tstep+vrand
DIFFUSION
SLOWING DOWN
DIFFUSION COEFFICIENTS
v(t+1)=v(t) - νs*v(t)*Tstep+vrand + q*[v(t)xB]
Realistic plasma description
Plasma concentrates inside the ECR resonance
The plasmoid-halo structure is spontaneously formed
A Galatà et al 2016 Plasma Sources Sci. Technol. 25 045007

## Slide 35
Something on continuous self-consistent feedback among experiments and plasma modelling
Plasma Modelling: confinement and heating
2012-2013
2014-2016
2017-2020
2020 - …
2006-2009
2011
ELECTROMAGNETIC SIMULATIONS
MICROWAVE ABSORPTION IN AN ANISTOTROPIC AND DISPERSIVE MEDIUM
ELECTRON DYNAMICS
SELF-CONSISTENT APPROACH
ENERGY GAIN DUE TO ECR
ENERGY REDISTRIBUTION DUE TO COLLISIONS
COLLISIONAL DIFFUSION
Realistic plasma description
Evidence of the frequency-tuning influence on plasma structure
Possible slicing of 3D energy density maps in different energy intervals: info on spatial distribution of electrons and ions
14.521 GHz
14.324 GHz
14.521 GHz
14.324 GHz
A Galatà et al 2016 Plasma Sources Sci. Technol. 25 045007