## Slide 1: Andrea Vinante CNR - Istituto di Fotonica e Nanotecnologie - Trento “Progress in testing collapse models using mechanical and thermal effects COLMO – ECT* 2023

## Slide 2: Outline
  Testing collapse models (CSL) with mechanical systems
  - established bounds with optimized cantilevers - levitated micromagnets: potential improvements
  Testing collapse models (CSL + DP) with thermal experiments - spontaneous heating & classical gravity - a new experiment at microkelvin temperature

## Slide 3
Continuous Spontaneous Localization (CSL)
Schrödinger equation + Stochastic term (collapse field)
Stochastic modification replacing the
reduction postulate of standard quantum mechanics!
Collapse term couple to the system mass
1) negligible at microscale (atoms,molecules, …)  quantum
2) dominant beyond some mass scale  classical
Measurement-based “collapse” and Born rule follow from dynamics ( “Measurement = macroscopic” )
[ GRW model: Ghirardi, Rimini, Weber, PRD 34, 470 (1986)
CSL model: Ghirardi, Pearle, Rimini, PRD 42, 1978 (1990) ]

## Slide 4
Continuous Spontaneous Localization (CSL)
Schrödinger equation + Stochastic term (collapse field)
2 phenomenological constants (free parameters)
Correlation Length rC
conventional “literature value” rC =10-7 m
Collapse rate l (= collapse rate for a single nucleon)
    l  10-16 s-1 @ rC =10-7 m following Ghirardi, Rimini, Weber (GRW), 1986
    l  10-8±2 s-1 @ rC =10-7 m following Adler, 2007
( N = number density of nucleons, “smeared” over rC )

## Slide 5
Collapse models can be tested (= falsified)
QUANTUM INTERFERENCE: collapse of massive quantum superpositions
Experimentally
very demanding !
X-ray spontaneous emission from free electrons
Spontaneous diffusion / heating / force noise in mechanical resonators
Spontaneous heating of solid matter
(unlike “interpretations” of quantum mechanics)
2) INDIRECT (noninterferometric): violation of energy conservation
Acoustic bulk resonator + SC qubit
(M. Fadel et al, ETH )
Phys. Rev. Lett. 130, 133604 (2023)
Molecular Interferometry
(M. Arndt et al, Vienna)
Nature Phys. 10, 271 (2014)

## Slide 6
Digitare l'equazione qui.
Random Collapses Momentum kicks Stochastic driving force
M
k=Mw02
FCSL
t=Q/w0
Ftherm
S. Nimmrichter et al, PRL 113 020045 (2014)
L. Diosi, PRL 114, 050403 (2015)
A. Vinante et al, PRL 116, 090402 (2016)

## Slide 7
CSL-heating of a mechanical resonator
MAXIMIZATION of Signal to Noise (actually Noise to Noise):
High
Low frequency are better! (unlike optomechanics)
Low T
High Geometrical factors
S. Nimmrichter et al, PRL 113 020045 (2014)
L. Diosi, PRL 114, 050403 (2015)
A. Vinante et al, PRL 116, 090402 (2016)

## Slide 8
Cantilever-magnet-SQUID
A. Vinante et al, Appl Phys Lett 101, 123101 (2012)
Initial work at Leiden University
Very soft AFM cantilevers

## Slide 9
Mean Energy vs Temperature
Force noise Sff=5x10-19 N/√Hz @ Tm25 mK

## Slide 11: Most recent experiment in Trento
1) AFM cantilever with very high Q at mK (close to 3 x106)
2) Attach another heavier mass to the cantilever
Multilayer with two different materials (heavy/light) maximizes CSL noise in the relevant portion of parameter space

## Slide 12
SiO2/WO3 multilayer fabricated by A. Chiasera & S. Varas, IFN Trento

## Slide 13
Noise at millikelvin (Pulse tube dilution – PT OFF)
Measurement scheme

## Slide 14: Noise vs Temperature
at 95% CL

## Slide 15
This
exp
LISA PTF
X ray
GRW
Adler parameter range falsified
MATTER WAVE

## Slide 16
Exploring new approaches: Magnetic Levitation of micromagnets

## Slide 17: Levitated micromagnets: motivations
Passive levitation (no heating)
compatible with cryogenics
(UNLIKE OPTICAL LEVITATION ie TWEEZER, where trapped particles are very hot)
Very clean mechanical modes (rigid body translations and rotations)
remove mechanical losses should allow for much better isolation from external world (= ultralow damping / ultrahigh Q factor)

## Slide 18
SQUID
Trap
NdFeB microsphere
Radius = 27 mm
Trap Radius = 2 mm
1) One individual microsphere can be picked up, magnetized and placed in the trap at room T
2) Spontaneous levitation upon cooldown to 4.2 K (Meissner Effect)
DIPPED
in a liquid He
Transport Dewar
Proof-of-principle experiment
Pb trap: Type I superconductor at 4.2K

## Slide 19
Spectrum & mechanical modes

## Slide 20: Mechanical damping - Q factor
RINGDOWN MEASUREMENT
(lock-in amplifier)
Tricky for low freq modes (too long time - seismic noise – nonlinearities)
t > 3 hours !

## Slide 21: Torque Magnetometry
Magnetic Field
Torque
How sensitive can this be as a magnetometer ?

## Slide 22: Noise: a mode (horizontal torsional)
Fitting Function
Torque noise

## Slide 23: ac torque Magnetometry

## Slide 24
Review Modern Physics 92, 021001 (2020)
Field Resolution improves with sensing (=“averaging”) volume !

## Slide 25: Credits
C.F. Gauss, Intensitas vis magnetica et terrestris ad mensuram absolutam revocata,
Göttingen,1833
Essentially a classical device
In the quantum era, still the most sensitive magnetometer ?

## Slide 26
Prospects for testing CSL
with a levitated magnet
Predicted bound for:
2-sphere dumbbell, R=20 mm
Librational mode
Thermal noise
T=0.1 K
t=106 s
LISA PTF
LEVITATED MAGNET
CANTILEVER

## Slide 27: From mechanical to thermal tests

## Slide 28: Heating of a solid body by CSL
S. Adler and A. Vinante “Bulk Heating Effects as Tests for Collapse Models”, PRA 97, 052119 (2018)
M. Bahrami: “Testing collapse models by a thermometer”, PRA 97 052118 (2018)
Collapse field will generate spontaneous heating of:
individual mechanical modes mechanical experiments
all phononic modes of a solid body thermal experiments
NOTE:
Relevant frequency is that of phonons with wavelength rc
(1011 Hz in solid matter)
(From integration over all acoustic phononic modes)

## Slide 29: The Diosi-Penrose (DP) model
Gravity-induced collapse according to Penrose
L. Diosi, Phys. Rev. 40, 1165 (1989)
Diosi model (DP) is similar to CSL, and captures the same expression for collapse rate predicted by Penrose!
No dependence on shape!
No optimal size
a: interatomic distance
Only one free parameter: R0 !
Force noise on a mechanical system

## Slide 30: Parameter-free DP model
Penrose and others suggest that the DP model can be made parameter-free by linking R0 to some characteristic length parameter of the system
Take R0 = spread of wavefunction of nuclei in the crystal field. This tells how mass is effectively distributed. For low T systems, R0 is determined by zero point fluctuations. ( for instance R0  4.3 pm in copper at low T )
Model incompatible with x-ray spontaneous radiation S. Donadi et al, Nature Physics 17, 74 (2021)
Can we confirm exclusion searching for heating in matter?

## Slide 31: Heating of a solid body by DP model
Power per unit mass independent of:
- shape
- density
(From integration over all acoustic phononic modes)
Best lower bound with mechanical systems:
R0 > 84 fm
(LISA PATHFINDER SPACE MISSION)
Thermal tests more sensitive
than mechanical ones!

## Slide 32: Classical Channel Gravity
New Journ Phys. 17, 006015 (2015)
Assumption: Gravity is a purely classical communication channel (= no entanglement through gravity!)
Same spontaneous heating of matter of DP model! (apart of a numerical constant)
New physical interpretation: predicted deviations from Newton’s law at R0

## Slide 33: Spontaneous heating of matter experimental bounds
1) Astrophysical bounds
Equilibrium temperature of planets of outer solar system (Neptune)
2) Laboratory bounds: experiments at ultralow temperature
pW/kg
pW/kg
For instance: Gloos et al, Journ. Low Temp. Phys. 73, 101 (1988) (or F. Pobell, Matter and Methods of Low Temperature Physics)
S. Adler et al, Phys. Rev. D 99, 103001

## Slide 34
CANTILEVER
LISA PTF
GRW
Bounds on CSL from heating
HEATING OF SOLID MATTER

## Slide 35: Bounds on DP from heating
10 pW/Kg
DP model power
R0 = 4.3 pm = spread of nuclear wavefunction in the copper crystal at ultralow T
Effective Length parameter in the Parameter-Free DP model
A. Vinante, H. Ulbricht, AVS Quantum Sci. 3, 045602 (2021)

## Slide 36
Design a dedicated experimental setup (at millikelvin or below):
Flexible tuning of relevant parameters (heat capacity, thermal resistance)
Accurate temperature and heat capacity measurements
Manageable size (easily transferrable to underground facilities in future)
PROBLEM
Current lab estimations of unexplained residual heat leaks are quite inaccurate
Indirect extrapolation from old measurements
Require interpretation

## Slide 37: Experimental Setup (Design by Ján Nyéki – Royal Holloway London)
User project within
European Microkelvin Platform
EU infrastructure for ultralow temperature
Transnational Access of External Users to
EMP facilities:
( nuclear demagnetization cryostats with T<1 mK )
Collaboration with Hendrik Ulbricht, Southampton

## Slide 44: Conclusions
Spontaneous wave function collapse models can be tested by mechanical and thermal experiments (besides interferometry)
Spontaneous force noise in mechanical systems: best results with cantilevers. Levitated systems on the way
New experimental setup to measure spontaneous heating designed and realized First measurements soon Short term goal: hit the cosmic ray limit

## Slide 45
We have openings for postdoc and PhD positions in Trento
Levitated magnetomechanics
Microwave optomechanics
Microwave devices fabrication (FBK microfab)
The Cryo & Quantum team in Trento: CNR-IFN + FBK + UniTN