## Slide 1: The SIDDHARTA-2 experiment at DAΦNE
Florin Sirghi o behalf of SIDDHARTA-2 Collaboration
Trento, 20-24 November 2023

## Slide 2
Strong interaction induced width and shift obtained by measuring the X-rays emitted
Kaonic atoms are formed
by stopping a
negatively charged kaon
in a target medium
H, He, D, N, …
Li, Be, C, Al, ...

## Slide 3
Quality kaon beam
SUCCES
© Designed by Freepik
DAΦNE at Laboratori Nazionali di Frascati
Φ → K- K+ (48.9%)
Monochromatic low-energy K-
(127 MeV/c ; Δp/p = 0.1%)
Less hadronic background compared to hadron beam line

## Slide 4
Quality kaon beam
Efficient x-ray detector system
SUCCES
Silicon
Drift
Detectors
© Designed by Freepik

## Slide 5
Powerful analysis tools
Ti
Cu
Fe
Ti
SDD Calibration
Monte Carlo simulations,
modern algorithms and machine learning techniques
Optimization of the setup and detectors response (trigger, SDDs, veto, …)
Quality kaon beam
Efficient x-ray detector system
SUCCES
© Designed by Freepik

## Slide 6
  The first measurement of kaonic deuterium transitions to the fundamental 1s level
  to extract the antikaon-nucleon isospin dependent scattering lengths (using also the measurement of kaonic hydrogen performed by SIDDHARTA)
Scientific Goal of SIDDHARTA-2
Experimental determination of the isospin-dependent
K-N scattering length

## Slide 7
SIDDHARTA-2 apparatus
384 SDDs
Target
Kaon Trigger
Veto-1
Veto-2
Veto-3
Charged kaon

## Slide 8
Optimization of SIDDHARTA-2 setup
new solutions for the cooling scheme - target and SDD
Better control of target parameters (pressure, temperature, density,….)
Target + SDD cooling
Leybold MD10 – 18 W @ 20 K
target cell and SDDs are cooled
via ultra pure aluminum bars
TTC = 20-30 K
TSDD ~ 130 K
Second stage
dedicated to target cooling

## Slide 9
Optimization of SIDDHARTA-2 setup
new solutions for the cooling scheme - target and SDD
Better control of target parameters (pressure, temperature, density,….)
First stage
dedicated only to SDD cooling
Cooling power 1st stage ~ 115 W @ 80 K 2nd stage ~ 18 W @ 20 K

## Slide 10
Kaon Trigger consists of two plastic scintillators read by PMT’s placed above and below the IR.
Optimization of SIDDHARTA-2 setup
New support structures
The Luminosity monitor consists of two plastic scintillators in the horizontal plane

## Slide 11
Kaon trigger up
Kaon trigger down
e+
e-
Kaons
MIPS
The ToF is different for Kaons, m(K)~ 500 MeV/c2 and light particles
originating from beam-beam and beam-environment interaction (MIPs).
Can efficiently discriminate by ToF Kaons and MIPs!
Kaon Trigger – event selection
Optimization of SIDDHARTA-2 setup

## Slide 12
tdc (1 ch=100 ps)
Count
Charged Kaon Detector
Stop both and in a passive layer (Teflon) and detect secondaries in a scintillator
Charged Kaon
Optimization of SIDDHARTA-2 setup

## Slide 13
VETO system adds – VETO3
● light-guides
● Al tube + μMetal (0.1mm)
● reflective and light proof foil
● optical cement
Optimization of SIDDHARTA-2 setup
● 2 pairs of scintillator
640 x 130 x 10 mm3 Scionix EJ-200
● R10533 PMTs Hamamatsu

## Slide 14
Selected materials in different configuration:
vacuum entrance windows
target walls
cooling supports
Optimization of SIDDHARTA-2 setup
would eliminate Nitrogen and Oxygen contamination

## Slide 15
Improve the lateral shielding around the vacuum chamber after adding VETO3 detector
Optimization of SIDDHARTA-2 setup
Redesign and complete the bottom shielding near to IR

## Slide 17
Degrader optimization for Kaonic Neon
Sample data for
one degrader
thickness
Optimization of SIDDHARTA-2 setup

## Slide 18
Online monitoring tools for fast feedback
Reduce background and improve KAON/SDD ratio
Optimization of SIDDHARTA-2 setup - results
Dafne currents

## Slide 19
Online monitoring tools for fast feedback
Reduce background and improve KAON/SDD ratio
Optimization of SIDDHARTA-2 setup - results
Dafne currents
Background estimation

## Slide 20
Online monitoring tools for fast feedback
Reduce background and improve KAON/SDD ratio
Optimization of SIDDHARTA-2 setup - results
Dafne currents
Background estimation
Luminosity estimation

## Slide 21
Ti
Cu
Fe
Ti
SDD Calibration
modern algorithms and machine learning techniques
© Designed by Freepik
Powerful analysis tools
the steps in data analysis
Energy spectrum (before background rejection)
Energy spectrum (asynchronous background reduced by a factor 104)
kaons
kaons
e+
e-
KAON TRIGGER
SDDs Drift Time

## Slide 22
SDD energy calibration with ML and Differential Programming
Fabrizio Napolitano et al 2023 Meas. Sci. Technol. in press https://doi.org/10.1088/1361-6501/ad080a
The method can correct for miscalibration improving the systematic error and the energy resolution allowing to perform high precision measurement with an accuracy below 1 eV
Cu
… see the talk of S. Manti and F. Napolitano

## Slide 23
The Kaonic Neon measurement (2023)
K-Ne 8->7
K-Ne 7->6
KC 5->4
K-Ne 6->5
K-Ne 9->8
KAl 8->7
KAl 7->6 KC 6->4
KO 6->5
KO 5->4
KC 7->5
Line | Energy [eV]
K-Ne 98 | 4206.35 3.75 (stat)
K-Ne 8 | 6130.86 0.71 (stat) 2 (sys.)
K-Ne 7 | 9450.08 0.41 (stat) 2 (sys.)
K-Ne 6 | 15673.30 0.52 (stat) 5 (sys.)
Line | Energy [eV]
First measurement of kaonic neon X-ray transitions ( record of precision eV )
Paper in preparation
23

## Slide 24
Kaon mass (K-Ne and K-Ne ) = (stat. error keV including the K-Ne )
The (charged) Kaon mass puzzle and kaonic Neon
Kaon mass discrepancy
The kaonic Neon measurement to determine the K- (K+) mass
Less systematic uncertainty with respect to DENISOV 91 and GALL 88 measurements, thanks to the use of a low Z gas (Ne) target
It could solve the kaon mass discrepancy issue
Particle Data Group, 2020, 083C01 (2020)
Impact on the charmonium spectrum and on all processes in which charged kaons are involved
DENISOV 91
GALL 88
SIDDHARTA-2
LUM 81
BARKOV 79
CHENG 75
BACKENSTO 73
Kaon mass [MeV]
Preliminary

## Slide 25
Kaonic deuterium shift and width (Theoretical predictions)
Oset 2001
Liu 2020
Mizutani 2013
Shevchenkov 2012
Gal 2007
Meißner 2011
Weise 2017
Monte Carlo Simulation
achievable precision
ROI
Scientific goal: first measurement ever of kaonic deuterium X-ray transition to the ground state (1s-level) such as to determine its shift and width induced by the presence of the strong interaction, providing unique data to investigate the QCD in the non-perturbative regime with strangeness.
Monte Carlo simulation for an
integrated luminosity of 800 pb-1

## Slide 26
The SIDDHARTA-2 NEON run (technical run)
(application of modern algorithms and machine learning techniques)
First Kaonic deuterium run done - from May to July 2023
(optimized setup for about 110 pb-1 integrated luminosity) – analysis ongoing
We are confident in machine performance, ready and very motivated to continue the SIDDHARTA-2 program
Second Kaonic deuterium run – ongoing
(with optimized shielding, readout, veto, trigger, ….. for the remaining integrated luminosity: 600-700 pb-1 in 2023/2024)
Conclusions

## Slide 27
SPARE

## Slide 28
SIDDHARTA-2
Kaonic deuterium measurement plan
First Kaonic deuterium run finished in July
optimized setup for about 110 pb-1 integrated luminosity
Second Kaonic deuterium run started in September
with optimized shielding, readout, veto, trigger, …..
(for the remaining integrated luminosity: 600-700 pb-1 in 2023/2024)
Calibration/technical runs
KHe, Neon, solid targets Li, Be

## Slide 29
DEAR
SIDDHARTA
SIDDHARTA-2
EXKALIBUR

## Slide 30
EXtensive
Kaonic
Atoms research: from
LIthium and
Beryllium to
URanium
EXKALIBUR
proposal to perform fundamental physics at the strangeness frontier at DAΦNE for a 3-years period (post-SIDDHARTA-2)
Dedicated runs with different types of detectors:
SDD 1mm, CZT detectors, HPGe, crystal HAPG spectrometer-VOXES project
Future plans
C. Curceanu et al., arXiv:2104.06076 [nucl-ex](2021)
C. Curceanu et al., Front. Phys. 11 (2023)
Kaonic Hydrogen: 200 pb-1 – with SIDDHARTA2 setup – to get a precision < 10 eV (KH)
Selected light kaonic atoms (LHKA)
Selected intermediate and heavy kaonic atoms charting the periodic table (IMKA)
Ultra-High precision measurements of Kaonic Atoms (UHKA)

## Slide 31
Total integrated Luminosity:
200 + 400 (200) + 400 (200) + 400 pb-1
Gantt chart
possible implementation of the kaonic atoms measurements
Fast, handy and significant physics measurements with very low costs and human efforts
Future plans