## Slide 1: LUNA projects at Bellotti Ion Beam Facility, focusing on the status of 12C+12C measurement Trento 18-02-2025
Gianluca Imbriani
Physics Department of University of Naples Federico II,
Italian National Institute of Nuclear Physics (INFN)

## Slide 2: LUNA projects at Bellotti Ion Beam Facility, focusing on the status of 12C+12C measurement…. And I add also Gastly experiment at CIRCE Trento 18-02-2025
Gianluca Imbriani
Physics Department of University of Naples Federico II,
Italian National Institute of Nuclear Physics (INFN)

## Slide 3
12C+12C 20Ne + a Q = 4.62 MeV
12C+12C 23Na + p Q = 2.24 MeV
12C+12C 24Mg + g Q = 13.93 MeV
12C+12C 23Mg + n Q = -2.62 MeV
The 12C+12C reactions
Iliadis, C., Nuclear Physics of Stars, Wiley, 2015

## Slide 4
12C+12C 20Ne + a Q = 4.62 MeV
g-rays and a particles energies for excited states for 12C(12C, α)20Ne (Q = 4.617 MeV) |  |  |  |  | 
EX (MeV) | Jp | Main g transitions (MeV) |  | ID | Ea-max (MeV) (ECM = 2 MeV)
0.0 | 0+ |  |  | a0 | 8.6
1.63 | 2+ | 1.63  0 1.63 |  | a1 | 6.8
4.24 | 4+ | 4.24  1.63 2.61 |  | a2 | 3.9
4.96 | 2- | 4.96  1.63 3.33 |  | a3 | 3.1
5.62 | 3- | 5.62  1.63 3.98 |  | a4 | 2.2
5.78 | 1- | 5.78  1.63 4.15 | 5.78  0 5.78 | a5 | 2.0
The 12C+12C reactions

## Slide 5
12C+12C 23Na + p Q = 2.24 MeV
g-rays and p particles energies for excited states for 12C(12C, p)23Na (Q = 2.241 MeV) |  |  |  |  | 
EX (MeV) | Jp | Main g transitions (MeV) |  | ID | Ep-max (MeV) (ECM = 2 MeV)
0.0 | 3/2+ |  |  | p0 | 5.3
0.44 | 5/2+ | 0.44  0 0.44 |  | p1 | 4.8
2.07 | 7/2+ | 2.07  0.44 1.63 (91%) | 2.07  0 2.07 (9%) | p2 | 3
2.39 | 1/2+ | 2.39  0.44 1.95 | 2.39  0 2.39 | p3 | 2.6
2.64 | 1/2- | 2.64  0 2.64 |  | p4 | 2.3
2.70 | 9/2+ | 2.70  2.07 0.62 | 2.70  0.44 2.26 | p5 | 2.3
2.98 | 3/2+ | 2.98  0.44 2.54 | 2.98  0 2.98 | p6 | 1.9
The 12C+12C reactions

## Slide 6
12C+12C 20Ne + a Q = 4.62 MeV
g-rays and a particles energies for excited states for 12C(12C, α)20Ne (Q = 4.617 MeV) |  |  |  |  | 
EX (MeV) | Jp | Main g transitions (MeV) |  | ID | Ea-max (MeV) (ECM = 2 MeV)
0.0 | 0+ |  |  | a0 | 8.6
1.63 | 2+ | 1.63  0 1.63 |  | a1 | 6.8
The 12C+12C study via g detection
Eg=1.63 MeV
Eg=0.44 MeV
12C+12C 23Na + p Q = 2.24 MeV
g-rays and p particles energies for excited states for 12C(12C, p)23Na (Q = 2.241 MeV) |  |  |  |  | 
EX (MeV) | Jp | Main g transitions (MeV) |  | ID | Ep-max (MeV) (ECM = 2 MeV)
0.0 | 3/2+ |  |  | p0 | 5.3
0.44 | 5/2+ | 0.44  0 0.44 |  | p1 | 4.8

## Slide 7
Summary table (as of 2020)

## Slide 8
Summary table (as of 2020)
TARGETS

## Slide 9
Summary table (as of 2020)
Technique

## Slide 10
Summary table (as of 2020)
Total or
partial s

## Slide 11
Summary table (as of 2020)
Total or
partial s

## Slide 12
Summary table (as of 2020)
Minimum
energy

## Slide 13
The Becker experiment

## Slide 14
The 12C+12C state of the art
Several datasets and models
Direct measurements above 2.1 MeV (large scattering, large uncertainties)
Only indirect measurements below 2.1 MeV (problems with normalization and other discrepancies)
Very large uncertainty below 2.5 MeV
Presence of several states at low energies
Gamow peak

## Slide 15
The 12C+12C state of the art
Several datasets and models
Direct measurements above 2.1 MeV (large scattering, large uncertainties)
Only indirect measurements below 2.1 MeV (problems with normalization and other discrepancies)
Very large uncertainty below 2.5 MeV
Presence of several states at low energies

## Slide 16
Summary table (as of 2020)
Morales-Gallegos et al., Eur. Phys. J. A (2024)
Ecm=2.51-4.36 MeV
Ibeam=10-50 μA
Target: 1 mm thick HOPG (99.99% pure) at high T Technique: charged particle spectroscopy with ΔE-E PID (ionization chamber + silicon strip detector)
Detection of partial σ: p0, …, p6, α0, α1

## Slide 17
Particle detection
2H(12C,12C)2H + 2H(12C,pγ)13C
12C+12C
Beam-Induced Background Full energy peak
BIB affects mostly the measurements based on particle detection, as in photon detection measurements it only causes a moderate Compton background
Photon detection
2H(12C,pγ)13C
1H(12C,γ)13N
(Eγ=3.09 MeV) (Eγ=2.36 MeV)
Beam Induced Background (BIB) due to 1H and 2H in the target was a strong limitation in previous measurements based on particle detection
12C+12C background issues

## Slide 18
12C+12C @CIRCE laboratory first experiment: p detection
PHYSICAL REVIEW C 97, 065806 (2018)
J. Zickefoose, A. Di Leva, F. Strieder, L. Gialanella, G. Imbriani,
N. De Cesare, C. Rolfs, J. Schweitzer, T. Spillane, O. Straniero, and F. Terrasi

## Slide 19
12C+12C @CIRCE laboratory first experiment: p detection

## Slide 20
J. Zickefoose, A. Di Leva, F. Strieder, L. Gialanella, G. Imbriani,
N. De Cesare, C. Rolfs, J. Schweitzer, T. Spillane, O. Straniero, and F. Terrasi
PHYSICAL REVIEW C 97, 065806 (2018)
E = 2.6 MeV
12C+12C @CIRCE laboratory first experiment: p detection

## Slide 21
12C+12C @CIRCE laboratory first experiment: p detection
J. Zickefoose, A. Di Leva, F. Strieder, L. Gialanella, G. Imbriani,
N. De Cesare, C. Rolfs, J. Schweitzer, T. Spillane, O. Straniero, and F. Terrasi
PHYSICAL REVIEW C 97, 065806 (2018)

## Slide 22
12C+12C @CIRCE laboratory second experiment:
double stage detector

## Slide 23
12C+12C @CIRCE laboratory second experiment:
double stage detector

## Slide 24
GASTLY detectors
GAs-Silicon Two-Layer sYstem
Elab = 8.6 MeV
Detector at 121°
L. Morales-Gallegos et al.
Eropean Phisical Journal A 58:65 (2022)
12C+12C @CIRCE laboratory second experiment:
double stage detector

## Slide 25
12C+12C @CIRCE laboratory second experiment:
results

## Slide 26
The 12C+12C NEW state of the art

## Slide 27
The 12C+12C NEW state of the art

## Slide 28
12C+12C 20Ne + a Q = 4.62 MeV
g-rays and a particles energies for excited states for 12C(12C, α)20Ne (Q = 4.617 MeV) |  |  |  |  | 
EX (MeV) | Jp | Main g transitions (MeV) |  | ID | Ea-max (MeV) (ECM = 2 MeV)
0.0 | 0+ |  |  | a0 | 8.6
1.63 | 2+ | 1.63  0 1.63 |  | a1 | 6.8
The 12C+12C study via g detection
Eg=1.63 MeV
Eg=0.44 MeV
12C+12C 23Na + p Q = 2.24 MeV
g-rays and p particles energies for excited states for 12C(12C, p)23Na (Q = 2.241 MeV) |  |  |  |  | 
EX (MeV) | Jp | Main g transitions (MeV) |  | ID | Ep-max (MeV) (ECM = 2 MeV)
0.0 | 3/2+ |  |  | p0 | 5.3
0.44 | 5/2+ | 0.44  0 0.44 |  | p1 | 4.8

## Slide 29
Measuring 12C+12C in laboratory: g-rays detection
Spillane et al., PRL 98, 122501 (2007)
Kettner

## Slide 30
Measuring 12C+12C in laboratory: g-rays detection
Spillane et al., PRL 98, 122501 (2007)
Figures from Spillane’s PhD thesis Spillane
initial heating of the target by means of the beam itself: desorption of H and 2H is sufficient for the measurement based on photon detection

## Slide 31
The 12C+12C expected count rate
Reaction per day with 200 mA
12C(12C, p)23Na
Spillane lowest data

## Slide 32
The 12C+12C expected count rate
Reaction per day with 200 mA
12C(12C, p)23Na
Spillane lowest data

## Slide 33
40K
214Bi
232Th
214Bi
208Tl
214Pb
Background
g-ray spectrum
Cosmic rays
Environmental radioactivity (g-rays of low energy):
  natural radioactive series 226Ra, 214Bi, 214Pb (from 238U) and 224Ra, 208Tl, 212Pb (from 232Th);
  radon (222Rn - 220Rn) a short-lived radioactive gas (from 238U and 232Th respectively);
  long-lived natural radionuclides such as 40K, 87Rb, 115In, 133La, 142Ce, etc.
Cosmic rays (g-rays of high energy).
g-ray natural background

## Slide 34
Why going underground: g-background
E>3.5MeV Counts/keV/hours
0.33
0.00024
Gran Sasso shielding: 3800 m w.e.
Environmental radioactivity
cosmic rays
Radiation | LNGS/out
muons neutrons | 10-6 10-3
Therefore, the advantage of an underground environment is evident for high Q-value reactions such as 14N(p,)15O, 15N(p,)16O, 17O(p,)18F, 25Mg(p,)26Al......

## Slide 35
3 orders of
magnitude!!!!
Why going underground: g-background
25 cm of lead + radon box
Eur. Phys. J. A 39(2009)

## Slide 36
Laboratori Nazionali del Gran Sasso
LNGS laboratory
Notes: In 20 years he has established the THM as a world renowned approach in NA

## Slide 37
~ 1400 m
(3800 m.w.e.)
Cosmic ray attenuation: μ → 10-6
n → 10-3
LNGS laboratory
Notes: In 20 years he has established the THM as a world renowned approach in NA

## Slide 38
LUNA-50 kV
– 1992/00
LUNA-400 kV
– 2000/
LNGS
LUNA-MV – 2022/
LUNA: a long story of discoveries

## Slide 39
Nuclear Burning in Stars
log (c)
O-ignition
Si-ignition
log (Tc)
H-ignition
He-ignition
C-ignition
7
8
10
9
0
4
2
8
10
4
6
Ne-ignition
 56Fe Neon, Oxygen, Silicon
Burning
2 12C  24Mg Carbon Burning
3 4He  12C + 8MeV Helium Burning
4 1H  4He + 26MeV Hydrogen Burning
LUNA MV

## Slide 40
LNGS
Bellotti Ion Beam Facility
Inline Cockcroft Walton accelerator TERMINAL VOLTAGE: 0.2 – 3.5 MV
Beam energy reproducibility: 0.01% TV or 50V
Beam energy stability: 0.001% TV / h
Beam current stability: < 5% / h
H+ beam: 500 - 1000 µA
He+ beam: 300 - 500 µA
C+ beam: 100 - 150 µA
C++ beam: 50 pµA

## Slide 41
Bellotti Ion Beam Facility

## Slide 42
Avalaible beams:
H, He, C+ and C++
Competitors:
JUNA, China -> 400 kV machine, available beams: H, He+ and He++;
CASPAR, USA -> 1 MV machine, available beams: H and He+
LNGS is still the unique place where to find an underground carbon beam!

## Slide 43
First LUNA MV scientific proposal
CNO Hydrogen burning, Age of Globular Clusters and C production in AGB:
14N(p,g)15O also for final scientific commissioning the MV accelerator
First experiment, data acquisition finished
C burning:
12C+12C fusion Pillar processes
detections of both particles and g-rays
g-experiment ready to start by spring of 2025
Main neutron source:
22Ne(a,n)25Mg
Data taking already started

## Slide 44
The 12C+12C setup at LUNA-MV
25 cm thick lead shielding, under production;
An 150% HPGe;
16 NaI detector as further active shielding/anti-Compton;
Work ongoin on targets characterization in collaboration with LNL

## Slide 45
The 12C+12C setup at LUNA-MV
25 cm thick lead shielding, under production;
An 150% HPGe;
16 NaI detector as further active shielding/anti-Compton;
Work ongoin on targets characterization in collaboration with LNL

## Slide 46
Status of 12C+12C project: HPGePD2

## Slide 47
More than 4 OoM less background compared with Spillane et al.
Underground shielding
Massive shielding very effective underground:
we will detect the structures below Ecm = 2.5 MeV and presence of hindrance !!!!
Spillane et al. PRL 2009

## Slide 48
Reaction per day with 200 mA
Measuring 12C+12C in laboratory: g-rays detection @LNGS

## Slide 49
Reaction per day with 200 mA
Measuring 12C+12C in laboratory: g-rays detection @LNGS

## Slide 50
Reaction per day with 200 mA
Measuring 12C+12C in laboratory: g-rays detection @LNGS

## Slide 51
Status of 12C+12C project: NaI Prototype

## Slide 52
Status of 12C+12C project: NaI Prototype

## Slide 53
NaI
NaI
NaI
NaI
Front view
Lateral view
HPGe
detector
Beam
SiPM
SiPM
SiPM
SiPM
HPGe
base
Status of 12C+12C project: NaI final design

## Slide 54
Expected setup efficiency and sensitivity
10

## Slide 55
Expected setup efficiency and sensitivity
10

## Slide 56
Status of 12C+12C project: target tests @LNGS
1 mm thick AXF or ZDF graphite by Entegris POCO

## Slide 57
Status of 12C+12C project: status of the beam line
Beamtime will start in a couple of months

## Slide 58
Laboratori Nazionali del Gran Sasso, INFN, ASSERGI, Italy/*GSSI, L'AQUILA, Italy
T. Chillery, A. Compagnucci, F. Ferraro, R. Gesué, and M. Junker
Università degli Studi di Bari and INFN, BARI, Italy
G.F. Ciani V. Paticchio, L. Schiavulli
Università degli Studi di Genova and INFN, GENOVA, Italy
P. Corvisiero, P. Prati, S. Zavatarelli
Università degli Studi di Milano and INFN, MILANO, Italy
R. Depalo, A. Guglielmetti,
Università degli Studi di Napoli ”Federico II” and INFN, NAPOLI, Italy
C. Annana, A. Best, A. Di Leva, G. Imbriani, D. Mercogliano, D. Rapagnani
Università degli Studi di Padova and INFN, PADOVA, Italy
C. Broggini, A. Caciolli, P. Marigo, R. Menegazzo, D. Piatti, J. Skowronski, K. Stöckel
INFN Roma, ROMA, Italy
C. Gustavino, A. Formicola
Osservatorio Astronomico di Collurania, TERAMO and INFN LNGS, Italy
O. Straniero
Università di Torino and INFN, TORINO, Italy
F. Cavanna, G. Gervino, P. Colombetti
Konkoly Observatory, Hungarian Academy of Sciences, BUDAPEST, Hungary
M. Lugaro
Institute of Nuclear Research (ATOMKI), DEBRECEN, Hungary
L. Csedreki, Z. Elekes, Zs. Fülöp, Gy. Gyürky, T. Szücs
Helmholtz-Zentrum Dresden-Rossendorf, DRESDEN, Germany
A. Boeltzig, D. Bemmerer, E. Masha,, M. Takács
University of Edinburgh, EDINBURGH, United Kingdom
M. Aliotta, L. Barbieri, C.G. Bruno, T. Chillery, T. Davinson
LUNA collaboration