## Slide 1
Nuclear Astrophysics at the underground LUNA 400 kV facility: the state of the art
Alessandra Guglielmetti
Università degli Studi di Milano and INFN Milano, ITALY
alessandra.guglielmetti@unimi.it
The LUNA 400 kV facility at Gran Sasso
A selection of recent results: proton captures on neon and oxygen isotopes (20Ne(p,g)21Na, 21Ne(p,g)22Na, 17O(p,g)18F)
A selection of on going measurements (14N(p,g)15O)
Future perspectives for 2025

## Slide 2
The challenge of nuclear astrophysics: different approaches
In most astrophysical scenarios, the kinetic energy of interacting nuclei is much lower than the Coulomb repulsive potential:
 Nuclear reactions occur through quantum-mechanical tunneling
 Cross sections decrease steeply with energy
 In a laboratory the reaction signal is extremely low at astrophysical energies and easily lost in environmental background
      Recoil separators
Direct approaches:
Underground laboratories
Indirect approaches

## Slide 3
Underground nuclear laboratories
LUNA
3800 m.w.e.
Since 1991
Felsenkeller
110 m.w.e.
5 MV – H +, He+, C+
I ~ 30 mA
Since 2019
CASPAR
4300 m.w.e.
1 MV – H +, He+
I ~ 250 mA
Since 2017
JUNA
6700 m.w.e.
0.4 MV H+, He+, He++
I ~ 1 – 12 mA
Since 2021

## Slide 4
~ 1400 m
(3800 m.w.e.)
LUNA 1
50 kV
(1991-2001)
LUNA 2
400 kV
(2000 → …)
LUNA MV
4
12 – 16 Dec. 2022
Key reactions in Nuclear Astrophysics – ECT* Trento
The LNGS underground lab and LUNA
Attenuation of cosmic rays: μ → 10-6
n → 10-3
Notes: In 20 years he has established the THM as a world renowned approach in NA

## Slide 5
400 kV ACCELERATOR:
→ H+ and He+ beams
→ I ~ 250 µA
→ ΔE = 100 eV
Solid Target
Windowless gas target:
→ 3 differential pumping stages
→ Gas recirculation and purification system
The LUNA 400 kV setup
Notes: In 20 years he has established the THM as a world renowned approach in NA

## Slide 6
Cross section measurement requirements
Pb
Cu

E<3MeVpassive shielding
Underground passive shielding is more effective since μ flux, that create secondary g’s in the shield, is suppressed.
A reduction of 5 o.o.m. was obtained
LUNA: background reduction (g)
E>3MeV: reduction of a factor 2000 simply going underground
HPGe
HPGe
3MeV < Eg < 8MeV:
0.5 Counts/s
3MeV < Eg < 8MeV:
0.0002 Counts/s


## Slide 7
LUNA: background reduction (a)
With a Si detector:
Underground+Pb vs. Overground: factor ~10-15 reduction in the range 200 keV - 2.5 MeV

## Slide 8
LUNA: background reduction (n)
With a 3He counter: 104 reduction using stainless steel

## Slide 9
Big Bang Nucleosynthesis
p
2H
n
3H
3He
4He
6Li
7Be
7Li
1
2
1. 2H + p → 3He + g
2. 4He + 2H → 6Li + g
3. 3He+4He -> 7Be + g
3
p+p → 2H + e+ + ne
p+2H → 3He + γ
3He+3He → 4He + 2p
3He+4He → 7Be + γ
7Be+p → 8B + γ
7Li+p → 4He +4He
8B → 4He+4He+e++ne
7Be+e- → 7Li + γ + ne
86%
14%
13.98%
0.02%
pp chain
Reactions studied at LUNA 50 kV and 400 kV
Notes: In 20 years he has established the THM as a world renowned approach in NA

## Slide 10
Pre-main sequence: 6Li(p,g)7Be
s-process nucleosynthesis : 13C(a,n)16O, 22Ne(a,g)26Mg
CNO CYCLE
NeNa and MgAl CYCLES
13C
(p,g)
b+
(p,a)
12C
(p,g)
13N
b+
15N
17O
(p,g)
18F
(p,a)
16O
17F
b+
18O
(p,g)
b+
(p,a)
19F
(p,g)
(p,a)
(p,g)
14N
15O
21Ne
22Na
(p,a)
20Ne
21Na
b+
25Mg
26Al
24Mg
(p,g)
25Al
b+
27Al
(p,g)
b+
(p,a)
b+
26Mg
(p,a)
(p,g)
22Ne
23Na
(p,g)
(p,g)
(p,g)
Key reactions in Nuclear Astrophysics – ECT* Trento
(p,g)
(p,g)
Reactions studied so far at LUNA 400 kV
(p,g)
published
now on measurement
measurement completed
planned for 2025
Notes: In 20 years he has established the THM as a world renowned approach in NA

## Slide 11
RGB stars (Red Giant Branch)
AGB stars (Asymptotic Giant Branch)
Novae
Massive stars
Key astrophysical sites
puzzle of the Na-O anti-correlation in Globular Clusters
(AGB models predict both O and Na to be destroyed by nuclear processes while globular cluster observations show an anticorrelation)
Ne-Na elemental abundances
Mg and Al elemental abundances in the linked MgAl cycle
24Mg
Mg-Al cycle
The Ne-Na cycle
Notes: 11

## Slide 12
24Mg
The 20Ne(p,g)21Na reaction
Q = 2431.6 keV
first and slowest reaction of the NeNa cycle
impacts the Ne-Na abundances
Only a few measurements available
No low energy measurements
Notes: 12

## Slide 13
The 20Ne(p,g)21Na reaction
For T = 0.1 - 1 GK the TRR is dominated by the direct capture component and the Er = 386 keV resonance
Study of the Ecm = 366 keV resonance
Direct capture below 400 keV
ωgRolfs= 0.11 ± 0.02 meV (Rolfs et al. 1975)
ωgCooper= 0.0722 ± 0.0068 meV (Cooper 2019, Ph.D thesis)
LUNA GOALS
Notes: 13

## Slide 14
A. Caciolli
24Mg
The 21Ne(p,g)22Na reaction
Q = 6738.7 keV
impacts on O-Ne novae and core-collapse supernovae through several resonances
Studied only by
J. Görres et al., (1982),
U.E.P. Berg et al., (1984)
H. Becker et al., (1992)
Notes: 14

## Slide 15
A. Caciolli
The 21Ne(p,g)22Na reaction
LUNA GOALS
Study of 5 different resonances:
Er= 126, 271, 272, 291, 352 keV
TRR completely dominated by the resonances
Notes: 15

## Slide 16
E. Masha
E. Masha
Extended gas target with natural Ne (90.3% 20Ne) or enriched 21Ne (59%) at p = 2 mbar
HPGe detecors:
GePd: relative efficiency 130%
GeDD: relative efficiency 90%
Lead shielding
Radon box
Beam
HPGe130%
HPGe90%
HPGe
90%
HPGe
90%
HPGe
130%
The experimental setup
Notes: 16

## Slide 17
Proton beam
Calorimeter
HPGe
130%
HPGe
90%
p = 2 mbar
Ep = 386 - 399 keV
The resonance measurement technique (scan)
Varying the beam energy, the resonance is populated at different positions along the target chamber, where the detectors have different efficiency.
Rolfs et al. (1975) [keV] | LUNA (2023) [keV]
384±5 | 386.0±0.5
Notes: 17

## Slide 18
Proton beam
Calorimeter
HPGe
130%
HPGe
90%
p = 2 mbar
Ep = 386 - 399 keV
The resonance measurement technique (scan)
Varying the beam energy, the resonance is populated at different positions along the target chamber, where the detectors have different efficiency
It is possible to determine the energy of the resonance
Rolfs et al. (1975) [keV] | LUNA (2023) [keV]
384±5 | 386.0±0.5
Notes: 18

## Slide 19
A. Caciolli
Rolfs et al. (1975) [meV] | LUNA (2023) [meV]
0.11 ± 0.2 | 0.112 ± 0.002stat ± 0.005sys
Transition [keV] | Rolfs et at. (1975) [%] | LUNA [%]
2425 →0 | 56±4 | 57.4±3.4
2798 →332 | 11±4 | 4.0±0.2
2798 →0 | 33±4 | 38.5±2.2
The 386 keV resonance strength and branching ratio
Experimental yield corrected for the combination of efficiency and beam straggling along the target chamber by using tuned GEANT4 simulations
Notes: 19

## Slide 20
Direct capture studied in the energy range : Ep = 260 keV – 400 keV
Masha et al.
PRC 108 (2023) L052801
The 20Ne(p,g)21Na S-factor
26% reduction of 21Ne surface abundance in hot bottom burning of AGB
30% reduction of 21,22Ne in novae ejecta
23% reduction of 22Na in novae ejecta
Notes: 20

## Slide 21
A. Caciolli
HPGe spectrum at the 126 keV resonance
PRELIMINARY
The 21Ne(p,g)22Na new transitions
Many new transitions discovered for the 126 keV, 272 keV and 290 keV resonances
Notes: 21

## Slide 22
A. Caciolli
PRELIMINARY
PRELIMINARY
PRELIMINARY
Impact on astrophysical scenarios under study
Measured resonance energies against literature
Measured resonance strengths against literature
The 21Ne(p,g)22Na preliminary results
Enhancement in the 21Ne(p,γ)22Na rate in the novae region. Reduced uncertainty
Notes: 22

## Slide 23: Astrophysical Motivation
Q= 5607 keV
Determine the oxygen isotopic ratio observed in giant stars and in stardust grains
The observed oxygen isotopic ratio is a useful tool to understand the interplay between nuclear burning and mixing processes in giant stars, as well as the origin of stardust grains
For 30 < T < 100 MK (35 < EG < 140 keV) the resonance Ecm=65 keV (Ex = 5672 keV) dominates the reaction rate​
Only indirect measurements (THM, 14N+a channels, 17O(p,a)14N, 17O(3He, pg)18F)
NN2024, Whistler (
The 17O(p,g)18F reaction

## Slide 24: Astrophysical Motivation
NN2024, Whistler (
Experimental setup
Ta2O5 target made by anodic oxidation with 17O (90%) enriched water.
3 layers shielding: BPE (5 cm)+ Pb (10 cm) + BPE (1 cm)-> reduction of the background by a factor ~5
Al chamber and target holder -> ~20% increase in efficiency w.r.t. previous brass and stainless steel setup
4p BGO Detector with 6 independent crystals.
TAS mode possible: coincident events in different channels are summed up offline to produce the addback spectrum

## Slide 25: Let’s measure it!
The data taking covered 4 months
420 C accumulated on O-17 targets, 50 and 20 keV thick
Long runs performed at Ep = 80 keV
Targets monitored with periodic scan of the 151 keV resonance and run on top of the 193 keV resonance
300 C accumulated on Ultra Pure Water targets, same thickness but negligible O-17 content
NN2024, Whistler (Canada), August 18th - 23rd 2024
To monitor the Beam Induced Background
The 17O(p,g)18F reaction

## Slide 26: The Beam Induced Background Nightmare
BIB is due to contaminants in the oxide layer or in the backing that react with the beam
The scariest contaminants are those that populates the ROI, mimicking the signal of interest, and have much higher cross section than the reaction of interest
Ta is known for its H and D storage properties
p+D reaction has a Q = 5493.5 keV (only ~ 100 keV lower than the 17O(p,g)18F reaction) and a cross section higher by many orders of magnitudes
With BGO poor resolution the ROI for 17O(p,g)18F reaction is 5200-6200 keV
No way to distinguish/resolve the p+D and the 17O(p,g)18F sum peak
NN2024, Whistler (Canada), August 18th - 23rd 2024
[Gesué R.M., PRL 133, 052701 (2024)]
The 17O(p,g)18F reaction

## Slide 27: Never give up and be smart!
Even if the sum peak of signal and BIB is not distinguishable,
The signal gives rise to the following g-rays
While the p+D reaction gives rise to single g-rays of Eg ~ 5560 keV
De-construct the sum peak:
Gate in the ROI and look at which g-rays contributed to the sum peak
consider only coincident g-rays corresponding to the 17O(p,g)18F cascade
NN2024, Whistler (Canada), August 18th - 23rd 2024
The 17O(p,g)18F reaction

## Slide 28: Astrophysical Motivation
NN2024, Whistler (
The 17O(p,g)18F results
Gesuè et al.
PRL 133 (2024) 052701

## Slide 29
(p,g)
(p,g)
b+
(p,a)
(p,g)
b+
15N
14N(p,g)15O is the slowest reaction of the CNO cycle
It determines the overall rate of the cycle
13C
12C
13N
14N
15O
On going measurement: The 14N(p,g)15O reaction
The reaction proceeds through capture to different excited states of 15O
Q= 7297 keV

## Slide 30
Frentz et al. PRC 103, 045802 (2021)
Solar Fusion III arXiv:2405.06470v1 (2024)
Cross section never measured directly at solar energies (15 keV).
Astrophysicists rely on extrapolations that are still highly uncertain
The 14N(p,g)15O reaction: state of the art
GOAL: measure partial cross sections down to Ecm = 100 keV

## Slide 31
TiN sputtered targets (thickness 70 – 140 nm) on Ta backing
4π-BGO detector (6 crystals) + lead shielding.
Data processed with the gamma-summing technique
BEAM
SHIELDING
4p BGO DETECTOR
Experimental setup
Energy distribution of events contributing to the sum peak fitted with simulated spectra for each branching

## Slide 32
Summary and perspectives
20Ne(p,g)21Na: 386 keV resonance (energy and strength) and direct capture (Ep= 260-400 keV)
Masha et al., PRC 108 (2023) L052801
21Ne(p, g)22Na: 5 resonances measured (energy and strength) tech paper accepted for publication, physical paper in preparation
17O(p, g)18F: E = 65 keV resonance measured. Gesuè et al, PRL 133 (2024) 052701. Paper on astrophysical impact under final revision
16O(p, g)17F: measurement completed (prompt gamma and activation), data analysis ongoing
14N(p, g)15O: measurement just completed, data analysis ongoing
23Na(p,a)20Ne (eventually 27Al(p,a)24Mg): measurement ongoing. Presently the least known reaction in the NeNa cycle
19F(p,g)20Ne and 24Mg(p,g)25Al planned for 2025
+ M. Aliotta talk + Additional program in preparation!

## Slide 33
Laboratori Nazionali del Gran Sasso, INFN, Italy/*GSSI, L'AQUILA, Italy T. Chillery, A. Compagnucci*, R. Gesuè*, F. Ferraro, M. Junker
Università degli Studi di Bari and INFN BARI, Italy G.F. Ciani, V. Paticchio, L. Schiavulli
Università degli Studi di Genova and INFN, GENOVA, Italy P. Corvisiero, P. Prati, M. Rossi, S. Zavatarelli
INFN Lecce, LECCE, Italy R. Perrino
Università degli Studi di Milano and INFN, MILANO, Italy R. Depalo, G. Gosta, A. Guglielmetti
Università degli Studi di Napoli ”Federico II” and INFN, NAPOLI, Italy A. Best, D. Dell’Aquila, A. Di Leva, G. Imbriani, D. Mercogliano, D. Rapagnani
Università degli Studi di Padova and INFN, PADOVA, Italy R. Biasissi, C. Broggini, A. Caciolli, R. Menegazzo, D. Piatti, J. Skowronski
INFN Roma, ROMA, Italy A. Formicola, C. Gustavino, M. Vagnoni
Laboratori Nazionali di Legnaro, Italy V. Rigato, M. Campostrini
Osservatorio Astronomico di Collurania, TERAMO and INFN LNGS, Italy O. Straniero
Università di Torino and INFN, TORINO, Italy F. Cavanna, P. Colombetti, G. Gervino, R. Sariyal
Konkoly Observatory, Hungarian Academy of Sciences, BUDAPEST, Hungary M. Lugaro
Institute of Nuclear Research (ATOMKI), DEBRECEN, Hungary L. Csedreki, Z. Elekes, Zs. Fülöp, Gy. Gyürky, T. Szücs
Helmholtz-Zentrum Dresden-Rossendorf, DRESDEN, Germany D. Bemmerer, A. Boeltzig, E. Masha
University of Edinburgh, EDINBURGH, United Kingdom M. Aliotta, L. Barbieri, R. Bonnel, C.G. Bruno, T. Davinson, J. Jones, D. Robb, J. Marsh,
Luna Collaboration
Notes: In 20 years he has established the THM as a world renowned approach in NA

## Slide 34
Gran Sasso, summer 2023- T-shirt

## Slide 35
Milano, winter 2025- Sweatshirt

## Slide 36
Proton beam
Calorimeter
HPGe
130%
HPGe
90%
Pressure p = 2 mbar
Ep = 386 - 399 keV
A. Caciolli
The 20-21Ne(p,g)21-22Na reactions
Notes: 36

## Slide 37
Ep = 386 keV
Calorimeter
HPGe
130%
HPGe
90%
A. Caciolli
The 20-21Ne(p,g)21-22Na reactions
Pressure p = 2 mbar
Ep = 386 - 399 keV
Notes: 37

## Slide 38
Calorimeter
HPGe
130%
HPGe
90%
Ep = 391 keV
The 20-21Ne(p,g)21-22Na reactions
Pressure p = 2 mbar
Ep = 386 - 399 keV
Notes: 38

## Slide 39
Calorimeter
HPGe
130%
HPGe
90%
Ep = 399 keV
A. Caciolli
The 20-21Ne(p,g)21-22Na reactions
Pressure p = 2 mbar
Ep = 386 - 399 keV
Notes: 39

## Slide 40
Calorimeter
HPGe
130%
HPGe
90%
Ep = 399 keV
A. Caciolli
Varying the beam energy, the resonance is populated at different positions along the target chamber, where the detectors have different efficiency.
The 20-21Ne(p,g)21-22Na reactions
Pressure p = 2 mbar
Ep = 386 - 399 keV
Notes: 40

## Slide 41
Rolfs et al. (1975) [keV] | LUNA (2023) [keV]
384±5 | 386.0±0.5
A. Caciolli
The 20-21Ne(p,g)21-22Na reactions
Notes: 41

## Slide 42
The 23Na(p,a)20Ne reaction: State of the art
Hale et al. (2004)
Gamow window
In the AGB-relevant temperature range three resonances contribute to the reaction rate.
P.I: C. Bruno
Only tentative upper limits have been placed for the Er= 137 keV, depending on the value of the unknown proton momentum transfer Ip.
Notes: 42

## Slide 43
The 23Na(p,a)20Ne reaction: Experimental setup
Cold trap
Collimator
Interaction chamber
3 MSPADs (nTDs)
24 HAMAMATSU
PHOTODIODES
Wobblers
Beam
Notes: 43

## Slide 44
The 23Na(p,a)20Ne reaction: First data taking
Targets
Main issue with sodium targets: All Na salts are hygroscopic
Evaporated target: Na2WO4
Produced: ATOMKI, Hungary
Known stoichiometry
Sputtered target: NaxNbyOz
Produced: LNL, Italy
Low sensitivity to humidity
Good stability under irradiation
Scan of 309 keV resonance in the (p,ɣ) channel
NO degradation up to 35 C.
Detection system
Resolution+ efficiency completed, first tests under analysis
Notes: 44

## Slide 45
The 16O(p,g)17F reaction
Based on outdated stopping powers
Relative, normalized to Tanner
Lack of low-energy data to constraint extrapolations
Notes: In 20 years he has established the THM as a world renowned approach in NA

## Slide 46
The 16O(p,g)17F reaction: Experimental techniques
ACTIVATION (T1/2(17F) = 64.49 s):
Performed in-situ using 4p, segmented BGO detector (high efficiency)
Not sensitive to gamma-ray angular distribution
  Need to discriminate background (i.e. from 12C(p,g)13N and 14N(p,g)15O)
PROMPT-GAMMA DETECTION:
  Allows to study individually captures to g.s. and 1st excited state
  Sensitive to angular distribution, needs multiple (shielded) detectors
beam
0° CeBr3
90° CeBr3
55°
HPGe
Pb shielding
Notes: In 20 years he has established the THM as a world renowned approach in NA

## Slide 47
Very preliminary results from first activation beam time
LUNA range
The 16O(p,g)17F reaction: preliminary results
Notes: In 20 years he has established the THM as a world renowned approach in NA

## Slide 48: We made it!
3 layer shielding: BPE + Pb + BPE -> reduction of the background by a factor ~5
Al chamber and target holder -> ~20% increase in efficiency w.r.t. previous brass and stainless steel setup
[Skowronski J., J Phys. G 50, 045201 (2023)]
NN2024, Whistler (Canada), August 18th - 23rd 2024
The 17O(p,g)18F reaction

## Slide 49: 19F(p,g)20Ne Astrophysical Motivations

## Slide 50: 24Mg(p,g)25Al Astrophysical Motivations
part of the MgAl cycle, it set the abundance of Mg and Al isotopes
  in Globular Cluster stars (among the oldest star in the Universe)
  in stardust grains formed around Asymptotic Giant Branch stars
activates during H burning for temperatures 30 MK < T < 60 MK
Straniero et al. 2013 APJ 763