## Slide 1: Isotope-Shift measurements in muonic and 2p/1s transitions with an mmc
César Godinho
ECT* Workshop
2025

## Slide 2: outline
Contextualization
Theoretical Baseline
Experimental Setup
Data Analysis
Future Steps

## Slide 3: context
Charge radii of light nuclei

## Slide 4
larger overlap with nucleus wavefunction
MMC detector with 1/1000 resolving power
Accessible to high-precision ab-initio nuclear theory
Towards Standard Model Fundamental Constants
A. Antognini et al. arXiv 2210.16929 (2022)
Motivation
Notes: Light nucliei accessible to nuclear theory calculations.
Shed some light on possible new physics and fundamental constants.

## Slide 5
Motivation
Notes: Light nucliei accessible to nuclear theory calculations.
Shed some light on possible new physics and fundamental constants.

## Slide 6
B. Maaß et al. Phys. Rev. Letters 122, 182501 (2019)
Laser spectroscopy
He-like Ions
State-of-the-art calculations
Plans to measure and on EBIS
Motivation
Notes: The isotope shift between the stable isotopes of boron 10B and 11B was measured on a collimated atomic beam.
Beams of two lasers crossed the atomic beam in perpendicular alignment to perform resonance ionization mass spectrometry.

## Slide 7
Muonic ground state measurements lead to better Lamb shift predictions
X-ray and Laser spectroscopy of muonic species can lead the search for new physics
Compare charge radii to current state-of-the-art theory predictions
Nuclei | (fm) | () | Method
 | 2.589(39) | 15 | el. scat.
 | 2.444(42) | 17 | OIS +
 | 2.519(32) | 13 | el. scat.
 | 2.510(31) | 12 | OIS +
 | 2.411(21) | 8.7 | scat. +
Nuclei |  |  | Method
 | 2.589(39) | 15 | el. scat.
 | 2.444(42) | 17 | 
 | 2.519(32) | 13 | el. scat.
 | 2.510(31) | 12 | 
 | 2.411(21) | 8.7 | 
B. Ohayon et al. Physics 2024, 6, 206-215
Past Measurements

## Slide 8
Muonic ground state measurements lead to better Lamb shift predictions
X-ray and Laser spectroscopy of muonic species can lead the search for new physics
Compare charge radii to current state-of-the-art theory predictions
Nuclei | (fm) | () | Method
 | 2.589(39) | 15 | el. scat.
 | 2.444(42) | 17 | OIS +
 | 2.519(32) | 13 | el. scat.
 | 2.510(31) | 12 | OIS +
 | 2.411(21) | 8.7 | scat. +
Nuclei |  |  | Method
 | 2.589(39) | 15 | el. scat.
 | 2.444(42) | 17 | 
 | 2.519(32) | 13 | el. scat.
 | 2.510(31) | 12 | 
 | 2.411(21) | 8.7 | 
B. Ohayon et al. Physics 2024, 6, 206-215
Past Measurements

## Slide 9
Optical isotopic chain charge radii measurements depend on some reference isotope
Hence, they inherit an overpowering uncertainty from their reference
There is a need for high accuracy for a stable isotope of each considered light nuclei
Past Measurements
Notes: Mention QED contributions as a function of Z.

## Slide 10
In 2024 – Measured Be, Li and B
For 2025 – Planned C, N and O
Our Measurements
Notes: Mention QED contributions as a function of Z.

## Slide 11: Theoretical baseline

## Slide 13
P Indelicato 2019 J. Phys. B: At. Mol. Opt. Phys. 52 232001
Notes: Also mention lamb-Shift contributions.
Simplifying, multiple transitions in here.

## Slide 14
P Indelicato 2019 J. Phys. B: At. Mol. Opt. Phys. 52 232001
…
Notes: F -> 7x DeltaQED!
Simplifying, multiple transitions in here
Reference: two-photon Exchange / Nuclear Polarizability

## Slide 15
Why use the isotope shift?
Why use muonic atoms?
Enlarged energy contributions
Precise QED corrections
Model independent
…

## Slide 16: Experimental setup

## Slide 17
ADC
HPGe & SDD
Data Storage
&
Online Analysis
MMC ARRAY
Notes: Mention MMC 0.5Hz per pixel
Each pixel is basically a detector
Really, they are linked by pairs
Mention how pixels are tied to the ADC

## Slide 18: Data workflow

## Slide 19
Raw Waveform
Filter Generation
Amplitude Determination
Temperature Data
Temperature Correction
Spectra
Co-adding
Energy Calibration
Goodness of Fit and Holdoff Data Cuts
Notes: References + Proton size radius
Scattering
Spectroscopy

## Slide 20
Raw Waveform
The Scientist and Engineer's Guide to Digital Signal Processing, Steven W. Smith, Ch. 17
Template Or Optimal
Filtering
A
Notes: A -> Amplitude for now on
phiT -> Used for temperature sensing on some specific pixels

## Slide 21: Data Analysis

## Slide 22
2p-1s
Notes: A -> Amplitude for now on
phiT -> Used for temperature sensing on some specific pixels

## Slide 23
Temperature Data
ADC1
Big temperature variations
Notes: Mention the temperature units
They are the diff to average temp

## Slide 24
Temperature Data
ADC1
Crop the data to manageable stable region
Notes: A -> Amplitude for now on
phiT -> Used for temperature sensing on some specific pixels

## Slide 25
Temperature Data
Signal flux jump affects baseline
Notes: A -> Amplitude for now on
phiT -> Used for temperature sensing on some specific pixels

## Slide 26
Goodness of Fit and Holdoff Data Cuts
Fit
Amplitude

## Slide 27
Goodness of Fit and Holdoff Data Cuts
Fit
Fit
Amplitude
Amplitude
Remove unwanted electron events
Remove unwanted poor fits

## Slide 28
Goodness of Fit and Holdoff Data Cuts
Fit
Amplitude
Amplitude
Fit

## Slide 29
Goodness of Fit and Holdoff Data Cuts
Hit Events Time Delta (ns)
Counts
Counts
ADC11_NEGP
Hit Events Time Delta (ns)

## Slide 30
Goodness of Fit and Holdoff Data Cuts

## Slide 31
Temperature Correction
Amplitude
Amplitude
Tinfo
Tinfo

## Slide 32
Amplitude
Tinfo
Tinfo
Amplitude
Temperature Correction
Amplitude temperature dependency

## Slide 33
Tinfo
Temperature Correction
Timestamp

## Slide 34
Amplitude
Tinfo
Tinfo
Amplitude
Temperature Correction
Use of Kernel Density Estimator for better fits

## Slide 35
Temperature Correction

## Slide 36
Temperature Correction

## Slide 37
Temperature Correction

## Slide 38
Spectra
Co-adding

## Slide 39
Spectra
Co-adding

## Slide 40
Ref. Non-Linear Folding
Spectra
Co-adding
Use literature data and line shapes to “align” pixels
(Ideal if we had many counts across the board)
Knowing
Considering equal for every
Linear Folding
Non-Ref. Non-Linear Folding
Use likelihood method to align histograms based on gain expressions
Line shape independent
Notes: - Both the linear folding and Non-Ref. Linear Folding are completely line shape independent!

## Slide 41
Spectra
Co-adding
Linear Folding

## Slide 42
Spectra
Co-adding
Maximal Likelihood Method
Linear Folding
We use the nested_fit code package to evaluate the data using nested sampling.​
- Yields a Likelihood value for each model​
- Possible to calculate each Model Probability​
- Accounts for a Prior Probability on the models​
- Yields an Evidence for the Data​
Notes: Due to fabrication diferences
And also other factors

## Slide 43
Spectra
Co-adding
Ground Truth
ADC20_POSP
Data to Correct
ADC21_POSP
Corrected Amplitude
Corrected Amplitude
Counts
Counts
Maximal Likelihood Method
Very accurate uncertainty estimation
correlations and distributions for free
Model Evidence
One can compare between
Linear and Non-linear models
and quantitatively see which one is better
Linear Folding
Notes: Due to fabrication diferences
And also other factors

## Slide 44
Spectra
Co-adding
Corrected Amplitude
Corrected Amplitude
Counts
Counts
(before folding)
Linear Folding
(after folding)
Notes: Due to fabrication diferences
And also other factors

## Slide 45
Spectra
Co-adding
Corrected Amplitude
Corrected Amplitude
Counts
Counts
Linear Folding
Notes: Due to fabrication diferences
And also other factors

## Slide 46
Spectra
Co-adding
Corrected Amplitude
Corrected Amplitude
Counts
Counts
Linear Folding
(before folding)
(after folding)
Notes: Due to fabrication diferences
And also other factors

## Slide 47
Ref. Non-Linear Folding
Spectra
Co-adding
Corrected Amplitude (Scaled)
Counts
Line shape dependency
High statistics dependency
Notes: Notes on statistics needs
And also on peak locality
If we are far away from the peak of interest

## Slide 48
Ref. Non-Linear Folding
Spectra
Co-adding
Corrected Amplitude (Scaled)
Literature (eV)
Physically accurate quadratic correction
Errors not visible at current scale
Notes: Notes on statistics needs
And also on peak locality
If we are far away from the peak of interest

## Slide 49
Ref. Non-Linear Folding
Corrected Amplitude (Scaled)
Counts
Spectra
Co-adding
Notes: Notes on statistics needs
And also on peak locality
If we are far away from the peak of interest

## Slide 50
Ref. Non-Linear Folding
Spectra
Co-adding
Non-linear drift (1/eV)
Require < 1 eV uncertainty
Non-linearity correction plays a big role on this
Notes: Notes on statistics needs
And also on peak locality
If we are far away from the peak of interest

## Slide 51
Preliminary isotope shift
Using coarse model
Energy Calibration
Linear Folding
Notes: Notes on statistics needs
And also on peak locality
If we are far away from the peak of interest

## Slide 52: Brief co-adding summary

## Slide 53
Linear Folding
Literature reference free
Ref. Non-linear Folding
No “master” pixel required
Non-Ref. Non-linear Folding
Literature reference free
Line shape not required
Assumes constant non-linear gain
Requires “master” pixel
Requires line shape knowledge
More dependent on number of events
Requires literature reference
Basically, a per-pixel “calibration”
Line shape not required
Requires “master” pixel
Folds globally
Only folds locally
Basically, a per-pixel “calibration”
More complex
Simple

## Slide 54: Future work

## Slide 55
Use Bayesian likelihood methods to analyze which model best co-adds the data
Figure out if it is reasonable to use a global non-linear constant for all the data pixels
Improve ref. non-linear folding by using better line shapes (e.g., recursive approach)
Fit HFS model to data and analyze the Boron line shape and quantify the isotopic shift

## Slide 56: Isotope-Shift measurements in muonic and 2p/1s transitions with an mmc
César Godinho
ECT* Workshop
2025